## INSTRUCTION
Instructions how to fill in the tables
1. | Fill in only cells marked yellow.
2. | Table 1.1 is not to be filled in because data from table 1.2 appear automatically
3. | Table 1.2 is not to be filled in because data from table 1.3. appear automatically for each of the connection types
- for the part of the connection up to 25 metres, fixed costs are costs of constructing a connection with
standard distances (15 m)
- for the part of connection up to 25 metres the variable cost is expressed per metre
- for part of the connection above 25 metres, enter only variable costs per metre
4. | Table 1.3 - to be filled in for each of the standard connection types:
- description of cost
- unit of measurement
- quantity in line with the methodology
- unit price
5. | Table 1.4 - enter price of each of mentioned device

## PRICE LIST
Table 1.1 - PRICE LIST FOR STANDARD CONNECTION (excl.VAT), PER METERING POINT
No. | Connection type | Description | Connection charge for distance of ≤25m | Variable costs for distance of >25 m
|  |  | (din) | (din/m)
INDIVIDUAL STANDARD CONNECTION
1 | М1 | one-phase, aerial, of power up to 14,5kW | 0 | 0
2 | М2 | one-phase, underground, of power up to 14,5kW | 0 | 0
3 | М3 | one-phase, underground-aerial, of power up to 14,5kW | 0 | 0
4 | Т1 | three-phase, aerial, of power up to 43,5kW | 0 | 0
5 | Т2 | three-phase, underground, of power up to 43,5kW | 0 | 0
6 | Т3 | three-phase, aerial-underground, of power up to 43,5kW | 0 | 0
GROUP STANDARD CONNECTION
1 | G11 | three-phase, aerial, of power up to 43,5kW | 0 | 0
2 | G12 | three-phase, underground, of power up to 43,5kW | 0 | 0
3 | G13 | three-phase, aerial-underground, of power up to 43,5kW | 0 | 0
4 | G21 | three-phase, aerial, of power up to 43,5kW, heating with electricity | 0 | 0
5 | G22 | three-phase, underground, of power up to 43,5kW, heating with electricity | 0 | 0
6 | G23 | three-phase, aerial-underground, of power up to 43,5kW, heating with electricity | 0 | 0
7 | G31 | three-phase, aerial, of power up to 43,5kW, without heating with electricity | 0 | 0
8 | G32 | three-phase, underground, of power up to 43,5kW, without heating with electricity | 0 | 0
9 | GГ33 | three-phase, aerial-underground, of power up to 43,5kW, without heating with electricity | 0 | 0

## CostStructure
Table 1.2 - STANDARD CONNECTION COST BREAKDOWN (excl. VAT)
No. | Conn. type | Max.No. of meter. devices | Total connection charge for distance of ≤25m | [6 empty] | Connection charge per metre for distance of >25 m | Connection charge per metering point for distance of ≤25m | Variable costs per metering point for part of connection beyond 25 m distance
|  |  | Costs of equipment, material and devices |  | Cost of works |  | Costs of design | Total fixed costs | Total variable costs
|  |  | Fixed | Variable | Fixed | Variable
|  |  | (din) | (din/m) | (din) | (din/m) | (din) | (din/m) | (din) | (din/m) | (din) | (din/m)
INDIVIDUAL STANDARD CONNECTION
1 | М1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | М2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | М3 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Т1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Т2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Т3 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GROUP STANDARD CONNECTION
1 | G11 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | G12 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | G13 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | G21 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | G22 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | G23 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | G31 | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | G32 | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | G33 | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## M1
Table 1.3 - STANDARD CONNECTION COSTS REAKDOWN (excl. VAT)
STANDARD CONNECTION TYPE |  | М1 | Unit price | Fixed costs of connection for distance of ≤25m |  | Variable costs of connection for distance≤25m |  | Connection charge per metre for distance >25 m
No. | Cost description | Unit |  | Quantity | Total | Quantity | Total | Quantity | Total
I COSTS OF EQUIPMENT, DEVICES AND MATERIAL
1 | Pole mounting equipment | pcs |  | 1 | 0 |  | 0 | 1 | 0
2 | Equipment for installation on the facility | pcs |  | 1 | 0 |  | 0 |  | 0
3 | Supporting pillar NB 9-250 | pcs |  |  | 0 |  | 0 | 1 | 0
4 | Cable X00-А 4x16 mm2 | m |  |  | 0 | 15 | 0 | 40 | 0
5 | Cabinet designed according to requirements of the distribution Co. according to SC | pcs |  | 1 | 0 |  | 0 |  | 0
6 | One-phase two-tariff meter | pcs |  | 1 | 0 |  | 0 |  | 0
7 | Automatic fuses "C"63А | pcs |  | 1 | 0 |  | 0 |  | 0
8 | Small and other material | flat rate |  | 1 | 0 |  | 0 | 1 | 0
9 | Standard base for separate meter cabinet | pcs |  | 0.5 | 0 |  | 0 |  | 0
10 |  |  |  |  | 0 |  | 0 |  | 0
11 |  |  |  |  | 0 |  | 0 |  | 0
12 |  |  |  |  | 0 |  | 0 |  | 0
13 |  |  |  |  | 0 |  | 0 |  | 0
|  |  | SUM I: |  | 0 |  | 0 |  | 0
[6 empty] | per m: | 0 | per m: | 0
II COSTS OF WORKS
IIа LABOUR COSTS
1 | Drilling holes in exterior facades | per hour |  | 3 | 0 |  | 0 |  | 0
2 | Façade repairs | per hour |  | 2 | 0 |  | 0 |  | 0
3 | Electrical installation works for: - erection and постављање и затезање снопа, - installation of measurement distribution cabinet at the installation point - necessary linking. Installation of meter and switching device with connection. | per hour |  | 16 | 0 |  | 0 | 16 | 0
4 | Provision of the link on the pillar and connection of the customer | per hour |  | 2 | 0 |  | 0 |  | 0
5 | Drilling and erection of foundation for the pole | per hour |  |  | 0 |  | 0 | 4 | 0
6 |  |  |  |  | 0 |  | 0 |  | 0
7 |  |  |  |  | 0 |  | 0 |  | 0
8 |  |  |  |  | 0 |  | 0 |  | 0
|  |  | SUM IIа: |  | 0 |  | 0 |  | 0
[6 empty] | per m: | 0 | per m: | 0
IIb COSTA OF MACHINERY USAGE WITH OPERATOR
1 | Hydraulic platform | km |  | 50 | 0 |  | 0 |  | 0
2 | Hydraulic platform | per hour |  |  | 0 | 2 | 0 | 2 | 0
3 | Usage of HIAB | per hour |  |  | 0 |  | 0 | 2 | 0
4 | Usage of HIAB | км |  |  | 0 |  | 0 | 50 | 0
5 |  |  |  |  | 0 |  | 0 |  | 0
|  |  | SUM IIb: |  | 0 |  | 0 |  | 0
[6 empty] | per m: | 0 | per m: | 0
IIc COSTS OF VEHICLES WITH DRIVER
1 | Zastava 35.10 (RIVAL) | km |  | 50 | 0
2 | Zastava 35.10 (RIVAL) | per hour |  | 2 | 0
3 | Zastava Yugo 45 | km |  | 50 | 0
4 | Zastava Yugo 45 | per hour |  | 2 | 0
5 |  |  |  |  | 0
|  |  | SUM IIc: |  | 0
|  |  | SUM II: |  | 0 | per m: | 0 | per m: | 0
III COSTS OF DESIGN PREPARATION, GATHERING DOCUMENTATION AND MEETING OTHER CONDITIONS
1 | Costs of design preparation, gathering necessary documentation and meeting other conditions | per hour |  | 2 | 0
|  |  | SUM III: |  | 0
| STANDARD CONNECTION TYPE |  | М1
| No. of metering devices for settlement |  | 1
COST VALUE
1 | Fixed costs of connection for distance ≤25m
1.1 | - total | dinar | 0
1.2 | - per metering device | dinar | 0
2 | Variable costs of connection for distance of ≤25m
2.1 | - per meter | dinar/m | 0
2.2 | - per meter and metering device | dinar/m | 0
3 | Cost of connection for distance ≤25m - per metering device | dinar | 0
4 | Cost of connection for distance of >25m
4.1 | - per meter | dinar/m | 0
4.2 | - per meter and metering device | dinar/m | 0

## M2
Table 1.3 - STANDRD CONNECTION COST BREAKDOWN (excl. VAT)
STANDARD CONNECTION TYPE |  | М2 | Unit price |  |  | Fixed costs of connection for distance of ≤25m |  | Variable costs of connection for distance≤25m |  | Connection charge per metre for distance >25 m
No. | Cost description | Unit |  |  |  | Quantity | Total | Quantity | Total | Quantity | Total
I COSTS OF EQUIPMENT, DEVICES AND MATERIAL
1 | Cable connection cabinet with bases and fuses | pcs |  | 11000 | 11000 | 1 | 0 |  | 0
2 | Cabinet designed according to requirements of the distribution Co. according to SC | pcs |  | 13000 | 13000 | 1 | 0 |  | 0
3 | One-phase two-tariff meter | pcs |  | 3800 | 3800 | 1 | 0 |  | 0
4 | Cable PPOO-А 4x25 | m |  | 180 | 180 |  | 0 | 15 | 0
5 | Bendable conductor PP-Y, 5x10 mm2 | m |  | 300 | 300 | 10 | 0 |  | 0
6 | Automatic fuses "C" 63А | pcs |  | 460 | 460 | 1 | 0 |  | 0
7 | Small and other material | flat rate |  | 550 | 550 | 1 | 0 |  | 0
8 | Standard base for separate meter cabinet | pcs |  | 8000 | 8000 | 0.5 | 0 |  | 0
9 | [6 empty] | 0 |  | 0
10 | [6 empty] | 0 |  | 0
11 | [6 empty] | 0 |  | 0
12 | [6 empty] | 0 |  | 0
13 | [6 empty] | 0 |  | 0
|  |  | SUM I: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
II COSTS OF WORKS
IIа LABOUR COSTS
1 | Drilling holes in exterior facades | per hour |  |  |  | 3 | 0 |  | 0
2 | Façade repairs | per hour |  |  |  | 2 | 0 |  | 0
3 | Trenching for cable laying and backfill | m |  |  |  |  | 0 | 15 | 0
4 | Restoring of public place looks | m2 |  |  |  |  | 0 | 6 | 0
5 | Electrical installation works: - installation of measurement distribution cabinet at the point of installation - installation of connection cable cabinet - installation of meter and switching device - any necessary linking and connections | per hour |  |  |  | 16 | 0 |  | 0
6 | Provision of link in cable connection cabinet and customer connection | per hour |  |  |  | 2 | 0 |  | 0
7 | [6 empty] | 0 |  | 0
8 | [6 empty] | 0 |  | 0
|  |  | SUM IIа: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIb COSTS OF MACHINERY USAGE WITH OPERATOR
1 | [6 empty] | 0 |  | 0
2 | [6 empty] | 0 |  | 0
3 | [6 empty] | 0 |  | 0
4 | [6 empty] | 0 |  | 0
5 | [6 empty] | 0 |  | 0
|  |  | SUM IIb: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIc COSTS OF VEHICLES WITH DRIVER
1 | Zastava 35.10 (RIVAL) | km |  |  |  | 50 | 0
2 | Zastava 35.10 (RIVAL) | per hour |  |  |  | 2 | 0
3 | Zastava Yugo 45 | km |  |  |  | 50 | 0
4 | Zastava Yugo 45 | per hour |  |  |  | 2 | 0
5 | [6 empty] | 0
|  |  | SUM IIc: |  |  |  | 0
|  |  | SUM II: |  |  |  | 0 | По m: | 0 | По m: | 0
III COSTS OF DESIGN PREPARATION, GATHERING DOCUMENTATION AND MEETING OTHER CONDITIONS
1 | Costs of design preparation, gathering of necessary doc.and meeting other conditions | per hour |  |  |  | 2 | 0
|  |  | SUM III: |  |  |  | 0
| STANDARD CONNECTION TYPE |  | М2
| No. of metering devices for settlement |  | 1
COST VALUE
1 | Fixed costs of connection for distance ≤25m
1.1 | - total | dinar | 0
1.2 | - per metering device | dinar | 0
2 | Variable costs of connection for distance of ≤25m
2.1 | - per meter | dinar/m | 0
2.2 | - per meter and metering device | dinar/m | 0
3 | Cost of connection for distance ≤25m - per metering device | dinar | 0
4 | Cost of connection for distance of >25m
4.1 | - per meter | dinar/m | 0
4.2 | - per meter and metering device | dinar/m | 0

## M3
Table 1.3 - STANDRD CONNECTION COST BREAKDOWN (excl. VAT)
STANDARD CONNECTION TYPE |  | М3 | Unit price |  |  | Fixed costs of connection for distance of ≤25m |  | Variable costs of connection for distance≤25m |  | Connection charge per metre for distance >25 m
No. | Cost description | Unit |  |  |  | Quantity | Total | Quantity | Total | Quantity | Total
I COSTS OF EQUIPMENT, DEVICES AND MATERIAL
1 | Cable connection cabinet with bases and fuses | pcs |  | 30 | 30 | 1 | 0 |  | 0
2 | Cabinet designed according to requirements of the distribution Co. according to SC | pcs |  | 13000 | 13000 | 1 | 0 |  | 0
3 | One-phase two-tariff meter | pcs |  | 3800 | 3800 | 1 | 0 |  | 0
4 | Cable protection | pcs |  | 0 | 0 | 1 | 0 |  | 0
5 | Cable PPОО-А 4x25 | m |  | 856 | 856 |  | 0 | 15 | 0
6 | Cable endings | pcs |  | 0 | 0 | 1 | 0 |  | 0
7 | Bendable conductor, type PP-Y, 5x10 mm 2 | m |  | 11000 | 11000 | 10 | 0 |  | 0
8 | Automatic fuses "C" 63А | pcs |  | 460 | 460 | 1 | 0 |  | 0
9 | Small and other material | flat rate |  | 1500 | 1500 | 1 | 0 |  | 0
10 | Standard base for separate meter cabinet | pcs |  | #REF! | #REF! | 0.5 | 0 |  | 0
11 | Galvanized strap FE-Zn 25x4мм2 | kg |  | 1400 | 1400 | 16 | 0 |  | 0
12 | Overvoltage arrester 500V,5kA | pcs |  | 1400 | 1400 | 1 | 0 |  | 0
13 | Intersection piece | pcs |  | 240 | 240 | 1 | 0 |  | 0
|  |  | SUM I: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
II COSTS OF WORKS
IIа LABOUR COSTS
1 | Drilling holes in exterior facades | per h |  |  |  | 3 | 0 |  | 0
2 | Façade repairs | per h |  |  |  | 2 | 0 |  | 0
3 | Trenching for cable laying and backfill | m |  |  |  |  | 0 | 15 | 0
4 | Restoring of public place looks | m2 |  |  |  |  | 0 | 8 | 0
5 | Electrical installation works for: - installation of measurement distribution cabinet at the point of installation - installation of connection cable cabinet, - installation of meter and switching device - all necessary linking and connections. | per h |  |  |  | 16 | 0 |  | 0
6 | Provision of link in cable connection cabinet and customer connection | per h |  |  |  | 2 | 0 |  | 0
7 | Trenching for earthing and backfill Ископ рова за уземљење ОП и затрпавање | per h |  |  |  | 8 | 0 |  | 0
8 | Installation of OP, strap laying and linking Монтажа ОП, полагање траке и повезивање | per h |  |  |  | 1.5 | 0 |  | 0
|  |  | SUM IIа: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIb COSTS OF MACHINERY USAGE WITH OPERATOR
1 | Hydraulic platform | km |  |  |  | 50 | 0 |  | 0
2 | Hydraulic platform | per h |  |  |  |  | 0 | 2 | 0
3 | [6 empty] | 0 |  | 0
4 | [6 empty] | 0 |  | 0
5 | [6 empty] | 0 |  | 0
|  |  | SUM IIb: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIc COSTS OF VEHICLES WITH DRIVER
1 | Zastava 35.10 (RIVAL) | km |  |  |  | 50 | 0
2 | Zastava 35.10 (RIVAL) | per h |  |  |  | 2 | 0
3 | Zastava Yugo 45 | km |  |  |  | 50 | 0
4 | Zastava Yugo 45 | per h |  |  |  | 2 | 0
5 | [6 empty] | 0
|  |  | SUM IIc: |  |  |  | 0
|  |  | SUM II: |  |  |  | 0 | per m: | 0 | per m: | 0
III COSTS OF DESIGN PREPARATION, GATHERING DOCUMENTATION AND MEETING OTHER CONDITIONS
1 | Costs of design preparation, gathering necessary documentation and meeting other conditions | per |  |  |  | 2 | 0
|  |  | SUM III: |  |  |  | 0
| STANDARD CONNECTION TYPE |  | М3
| No. of metering devices for settlement |  | 1
COST VALUE
1 | Fixed costs of connection for distance ≤25m
1.1 | - total | dinar | 0
1.2 | - per metering device | dinar | 0
2 | Variable costs of connection for distance of ≤25m
2.1 | - per meter | din/m | 0
2.2 | - per meter and metering device | din/m | 0
3 | Cost of connection for distance ≤25m - per metering device | dinar | 0
4 | Cost of connection for distance of >25m
4.1 | - per meter | din/m | 0
4.2 | - per meter and metering device | din/m | 0

## T1
Табела 1.3 -STANDRD CONNECTION COST BREAKDOWN (excl. VAT)
STANDARD CONNECTION TYPE |  | Т1 | Unit price |  |  | Fixed costs of connection for distance of ≤25m |  | Variable costs of connection for distance≤25m |  | Connection charge per metre for distance >25 m
No. | Cost description | Unit |  |  |  | Quantity | Total | Quantity | Total | Quantity | Total
I COSTS OF EQUIPMENT, DEVICES AND MATERIAL
1 | Equipment for pillar installation | pcs |  | 1860 | 1860 | 1 | 0 |  | 0 | 1 | 0
2 | Опрема за монтажу на објекту | pcs |  | 729 | 729 | 1 | 0 |  | 0 |  | 0
3 | Cable X00-А 4x16 mm2 | m |  | 77 | 77 |  | 0 | 15 | 0 | 40 | 0
4 | Cabinet designed according to requirements of the distribution Co. according to SC | pcs |  | 13000 | 13000 | 1 | 0 |  | 0 |  | 0
5 | Three-phase two tariff meter | pcs |  | 6000 | 6000 | 1 | 0 |  | 0 |  | 0
6 | Automatic fuse "C" 63А | pcs |  | 460 | 460 | 3 | 0 |  | 0 |  | 0
7 | Small and other material | flat rate |  | 1000 | 1000 | 1 | 0 |  | 0 | 1 | 0
8 | Supporting pillar NB 9-250 | pcs |  | 9570 | 9570 |  | 0 |  | 0 | 1 | 0
9 | Standard base for separate measurement cabinet | pcs |  | 8000 | 8000 | 0.5 | 0 |  | 0 |  | 0
10 | [6 empty] | 0 |  | 0 |  | 0
11 | [6 empty] | 0 |  | 0 |  | 0
12 | [6 empty] | 0 |  | 0 |  | 0
13 | [6 empty] | 0 |  | 0 |  | 0
|  |  | SUM I: |  |  |  | 0 |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
II COSTS OF WORKS
IIа LABOUR COSTS
1 | Drilling holes in exterior facades | per h |  |  |  | 3 | 0 |  | 0 |  | 0
2 | Façade repairs | per h |  |  |  | 2 | 0 |  | 0 |  | 0
3 | Electrical installation works: - постављање и затезање снопа, - erection of measurement distribution cabinet at the point of installation - necessary linking. Installation of meter and switching device with connection. | per h |  |  |  | 16 | 0 |  | 0 | 16 | 0
4 | Provision of links on the pillar and customer connection | per h |  |  |  | 2 | 0 |  | 0 |  | 0
5 | Trenching and construction of basis fir the pillar | per h |  |  |  |  | 0 |  | 0 | 4 | 0
6 | [6 empty] | 0 |  | 0 |  | 0
7 | [6 empty] | 0 |  | 0 |  | 0
8 | [6 empty] | 0 |  | 0 |  | 0
|  |  | SUM IIа: |  |  |  | 0 |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIb COSTS OF MACHINERY USAGE WITH OPERATOR
1 | Hydraulic platform | km |  |  |  | 50 | 0 |  | 0 |  | 0
2 | Hydraulic platform | per h |  |  |  |  | 0 | 2 | 0 | 2 | 0
3 | Usage of HIAB | per h |  |  |  |  | 0 |  | 0 | 2 | 0
4 | Usage of HIAB | km |  |  |  |  | 0 |  | 0 | 50 | 0
5 | [6 empty] | 0 |  | 0 |  | 0
|  |  | SUM IIb: |  |  |  | 0 |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIc COSTS OF VEHICLES WITH DRIVER
1 | Zastava 35.10 (RIVAL) | km |  |  |  | 50 | 0
2 | Zastava 35.10 (RIVAL) | per h |  |  |  | 2 | 0
3 | Zastava Yugo 45 | km |  |  |  | 50 | 0
4 | Zastava Yugo 45 | per h |  |  |  | 2 | 0
5 | [6 empty] | 0
|  |  | SUM IIc: |  |  |  | 0
|  |  | SUM II: |  |  |  | 0 | per m: | 0 | per m: | 0
III COSTS OF DESIGN PREPARATION, GATHERING DOCUMENTATION AND MEETING OTHER CONDITIONS
1 | Costs of design preparation, gathering necessary documentation and meeting other conditions | per h |  |  |  | 2 | 0
|  |  | SUM III: |  |  |  | 0
| STANDARD CONNECTION TYPE |  | Т1
| No. of metering devices for settlement |  | 1
COST VALUE
1 | Fixed costs of connection for distance ≤25m
1.1 | - total | dinar | 0
1.2 | - per metering device | dinar | 0
2 | Variable costs of connection for distance of ≤25m
2.1 | - per meter | dinar/m | 0
2.2 | - per meter and metering device | dinar/m | 0
3 | Cost of connection for distance ≤25m - per metering device | dinar | 0
4 | Cost of connection for distance of >25m
4.1 | - per meter | dinar/m | 0
4.2 | - per meter and metering device | dinar/m | 0

## T2
Table 1.3 - STANDRD CONNECTION COST BREAKDOWN (excl. VAT)
STANDARD CONNECTION TYPE |  | Т2 | Unit price |  |  | Fixed costs of connection for distance of ≤25m |  | Variable costs of connection for distance≤25m |  | Connection charge per metre for distance >25 m
No. | Cost description | Unit |  |  |  | Quantity | Total | Quantity | Total | Quantity | Total
I COSTS OF EQUIPMENT, DEVICES AND MATERIAL
1 | Cable connection cabinet with bases and fuses | pcs |  | 11000 | 11000 | 1 | 0 |  | 0
2 | Cabinet designed according to requirements of the distribution Co. according to SC | pcs |  | 13000 | 13000 | 1 | 0 |  | 0
3 | Three-phase two tariff meter | pcs |  | 6000 | 6000 | 1 | 0 |  | 0
4 | Cable PPОО-А 4x25 | m |  | 180 | 180 |  | 0 | 15 | 0
5 | Bendable conductor PP-Y, 5x10 мм2 | m |  | 300 | 300 | 10 | 0 |  | 0
6 | Automatic fuse "C" 63А | pcs |  | 460 | 460 | 3 | 0 |  | 0
7 | Small and other material | flat rate |  | 1000 | 1000 | 1 | 0 |  | 0
8 | Standard base for separate measurement cabinet | pcs |  | 8000 | 8000 | 0.5 | 0 |  | 0
9 | [6 empty] | 0 |  | 0
10 | [6 empty] | 0 |  | 0
11 | [6 empty] | 0 |  | 0
12 | [6 empty] | 0 |  | 0
13 | [6 empty] | 0 |  | 0
|  |  | SUM I: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
II COSTS OF WORKS
IIа LABOUR COSTS
1 | Drilling holes in exterior facades | per h |  |  |  | 3 | 0 |  | 0
2 | Façade repairs | per h |  |  |  | 2 | 0 |  | 0
3 | Trenching for cable laying and backfill | m |  |  |  |  | 0 | 15 | 0
4 | Restoring of public place looks | m2 |  |  |  |  | 0 | 6 | 0
5 | Electrical installation works for: - erection of measurement distribution cabinet at the point of installation - installation of connection cable cabinet, - installation of meter and switching device - all necessary links and connections | per h |  |  |  | 16 | 0 |  | 0
6 | Provision of link in cable connection cabinet and customer connection | per h |  |  |  | 2 | 0 |  | 0
7 | [6 empty] | 0 |  | 0
8 | [6 empty] | 0 |  | 0
|  |  | SUM IIа: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIb COSTS OF MACHINERY USAGE WITH OPERATOR
1 | [6 empty] | 0 |  | 0
2 | [6 empty] | 0 |  | 0
3 | [6 empty] | 0 |  | 0
4 | [6 empty] | 0 |  | 0
5 | [6 empty] | 0 |  | 0
|  |  | SUM IIb: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIc COSTS OF VEHICLES WITH DRIVER
1 | Zastava 35.10 (RIVAL) | km |  |  |  | 50 | 0
2 | Zastava 35.10 (RIVAL) | per h |  |  |  | 2 | 0
3 | Zastava Yugo 45 | km |  |  |  | 50 | 0
4 | Zastava Yugo 45 | per h |  |  |  | 2 | 0
5 | [6 empty] | 0
|  |  | SUM IIc: |  |  |  | 0
|  |  | SUM II: |  |  |  | 0 | per m: | 0 | per m: | 0
III COSTS OF DESIGN PREPARATION, GATHERING DOCUMENTATION AND MEETING OTHER CONDITIONS
1 | Costs of design preparation, gathering necessary documentation and meeting other conditions | per hour |  |  |  | 2 | 0
|  |  | SUM III: |  |  |  | 0
| STANDARD CONNECTION TYPE |  | Т2
| No. of metering devices for settlement |  | 1
COST VALUE
1 | Fixed costs of connection for distance ≤25m
1.1 | - total | dinar | 0
1.2 | - per metering device | dinar | 0
2 | Variable costs of connection for distance of ≤25m
2.1 | - per meter | dinar/m | 0
2.2 | - per meter and metering device | dinar/m | 0
3 | Cost of connection for distance ≤25m - per metering device | dinar | 0
4 | Cost of connection for distance of >25m
4.1 | - per meter | dinar/m | 0
4.2 | - per meter and metering device | dinar/m | 0

## T3
Table 1.3 - STANDRD CONNECTION COST BREAKDOWN (excl. VAT)
STANDARD CONNECTION TYPE |  | Т3 | Unit price |  |  | Fixed costs of connection for distance of ≤25m |  | Variable costs of connection for distance≤25m |  | Connection charge per metre for distance >25 m
No. | Cost description | Unit |  |  |  | Quantity | Total | Quantity | Total | Quantity | Total
I COSTS OF EQUIPMENT, DEVICES AND MATERIAL
1 | Cable connection cabinet with bases and fuses | pcs |  | 11000 | 11000 | 1 | 0 |  | 0
2 | Cabinet designed according to requirements of the distribution Co. according to SC | pcs |  | 13000 | 13000 | 1 | 0 |  | 0
3 | Three-phase two tariff meter | pcs |  | 6000 | 6000 | 1 | 0 |  | 0
4 | Cable protection | pcs |  | 1500 | 1500 | 1 | 0 |  | 0
5 | Cable PPOО-А 4x25 | m |  | 180 | 180 |  | 0 | 15 | 0
6 | Cable endings | pcs |  | 1200 | 1200 | 1 | 0 |  | 0
7 | Bendable conductor PP-Y, 5x10 мм2 | m |  | 300 | 300 | 10 | 0 |  | 0
8 | Automatic fuse "C" 63А | pcs |  | 460 | 460 | 3 | 0 |  | 0
9 | Small and other material | flat rate |  | 1000 | 1000 | 1 | 0 |  | 0
10 | Standard base for separate meter cabinet | pcs |  | 8000 | 8000 | 0.5 | 0 |  | 0
11 | Galvanized strap FE-Zn 25x4мм2 | kg |  | 1400 | 1400 | 16 | 0 |  | 0
12 | Overvoltage arrester 500V,5kA | pcs |  | 1400 | 1400 | 3 | 0 |  | 0
13 | Intersection piece | pcs |  | 240 | 240 | 1 | 0 |  | 0
|  |  | SUM I: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
II COSTS OF WORKS
IIа LABOUR COSTS
1 | Drilling holes in exterior facades | per h |  |  |  | 3 | 0 |  | 0
2 | Façade repairs | per h |  |  |  | 2 | 0 |  | 0
3 | Trenching for cable laying and backfill | m |  |  |  |  | 0 | 15 | 0
4 | Restoring of public place looks | m2 |  |  |  |  | 0 | 8 | 0
5 | Electrical installation works for: - installation of measurement distribution cabinet - erection of connection cable cabinet, - installation of meter and switching device - all necessary linking and connections | per h |  |  |  | 16 | 0 |  | 0
6 | Linking in the connection cable cabinet and customer connection | per h |  |  |  | 2 | 0 |  | 0
7 | Trenching for earthing of OP and backfill | per h |  |  |  | 8 | 0 |  | 0
8 | Erection of OP, strap laying and linking Монтажа ОП, полагање траке и повезивање | per h |  |  |  | 1.5 | 0 |  | 0
|  |  | SUM IIа: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIb COSTS OF MACHINERY USAGE WITH OPERATOR
1 | Hydraulic platform | km |  |  |  | 50 | 0 |  | 0
2 | Hydraulic platform | per h |  |  |  |  | 0 | 2 | 0
3 | [6 empty] | 0 |  | 0
4 | [6 empty] | 0 |  | 0
5 | [6 empty] | 0 |  | 0
|  |  | SUM IIб: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIc COSTS OF VEHICLES WITH DRIVER
1 | Zastava 35.10 (RIVAL) | km |  |  |  | 50 | 0
2 | Zastava 35.10 (RIVAL) | per h |  |  |  | 2 | 0
3 | Zastava Yugo 45 | km |  |  |  | 50 | 0
4 | Zastava Yugo 45 | per h |  |  |  | 2 | 0
5 | [6 empty] | 0
|  |  | SUM IIв: |  |  |  | 0
|  |  | SUM II: |  |  |  | 0 | per m: | 0 | per m: | 0
III COSTS OF DESIGN PREPARATION, GATHERING DOCUMENTATION AND MEETING OTHER CONDITIONS
1 | Costs of design preparation, gathering necessary documentation and meeting other conditions | per hour |  |  |  | 2 | 0
|  |  | SUM III: |  |  |  | 0
| STANDARD CONNECTION TYPE |  | Т3
| No. of metering devices for settlement |  | 1
COST VALUE
1 | Fixed costs of connection for distance ≤25m
1.1 | - total | dinar | 0
1.2 | - per metering device | dinar | 0
2 | Variable costs of connection for distance of ≤25m
2.1 | - per meter | dinar/m | 0
2.2 | - per meter and metering device | dinar/m | 0
3 | Cost of connection for distance ≤25m - per metering device | dinar | 0
4 | Cost of connection for distance of >25m
4.1 | - per meter | dinar/m | 0
4.2 | - per meter and metering device | dinar/m | 0

## G11
Table 1.3 - STANDRD CONNECTION COST BREAKDOWN (excl. VAT)
STANDARD CONNECTION TYPE |  | G11 | Unit price |  |  | Fixed costs of connection for distance of ≤25m |  | Variable costs of connection for distance≤25m |  | Connection charge per metre for distance >25 m
No. | Cost description | Unit |  |  |  | Quantity | Total | Quantity | Total | Quantity | Total
I COSTS OF EQUIPMENT, DEVICES AND MATERIAL
1 | Pole mounting equipment | pcs |  | 1860 | 1860 | 1 | 0 |  | 0 | 1 | 0
2 | Equipment for installation on the facility | pcs |  | 729 | 729 | 1 | 0 |  | 0 |  | 0
3 | Cable X00/O-A 3x35x54.6 mm2 | m |  | 77 | 77 |  | 0 | 15 | 0 | 40 | 0
4 | Cabinet designed according to requirements of the distribution Co. according to SC | pcs |  | 26000 | 26000 | 0.5 | 0 |  | 0 |  | 0
5 | Three-phase two tariff meter | pcs |  | 6000 | 6000 | 2 | 0 |  | 0 |  | 0
6 | Automatic fuse "C" 63А | pcs |  | 460 | 460 | 6 | 0 |  | 0 |  | 0
7 | Small and other material | flat rate |  | 1000 | 1000 | 1 | 0 |  | 0 | 1 | 0
8 | Supporting pillar NB 9-250 | pcs |  | 9570 | 9570 |  | 0 |  | 0 | 1 | 0
9 | Standard base with ОММ | pcs |  | 10000 | 10000 | 0.5 | 0 |  | 0 |  | 0
10 | [6 empty] | 0 |  | 0 |  | 0
11 | [6 empty] | 0 |  | 0 |  | 0
12 | [6 empty] | 0 |  | 0 |  | 0
13 | [6 empty] | 0 |  | 0 |  | 0
|  |  | SUM I: |  |  |  | 0 |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
II COSTS OF WORKS
IIа LABOUR COSTS
1 | Drilling holes in exterior facades | per h |  |  |  | 3 | 0 |  | 0 |  | 0
2 | Façade repairs | per h |  |  |  | 2 | 0 |  | 0 |  | 0
3 | Electrical installation works: - постављање и затезање снопа, - erection of measurement distribution cabinet - necessary linking. Installation of meter and switching device with connection. | per h |  |  |  | 24 | 0 |  | 0 | 16 | 0
4 | Provision of links on the pillar and customer connection | per h |  |  |  | 2 | 0 |  | 0 |  | 0
5 | Trenching and construction of bases for pillar | per h |  |  |  |  | 0 |  | 0 | 4 | 0
6 | [6 empty] | 0 |  | 0 |  | 0
7 | [6 empty] | 0 |  | 0 |  | 0
8 | [6 empty] | 0 |  | 0 |  | 0
|  |  | SUM IIа: |  |  |  | 0 |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIb COSTS OF MACHINERY USAGE WITH OPERATOR
1 | Hydraulic platform | km |  |  |  | 50 | 0 |  | 0 |  | 0
2 | Hydraulic platform | per h |  |  |  |  | 0 | 2 | 0 | 2 | 0
3 | Usage of HIAB | per h |  |  |  |  | 0 |  | 0 | 2 | 0
4 | Usage of HIAB | km |  |  |  |  | 0 |  | 0 | 50 | 0
5 | [6 empty] | 0 |  | 0 |  | 0
|  |  | SUM IIb: |  |  |  | 0 |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIc COSTS OF VEHICLES WITH DRIVER
1 | Zastava 35.10 (RIVAL) | km |  |  |  | 50 | 0
2 | Zastava 35.10 (RIVAL) | per h |  |  |  | 2 | 0
3 | Zastava Yugo 45 | km |  |  |  | 50 | 0
4 | Zastava Yugo 45 | per h |  |  |  | 2 | 0
5 | [6 empty] | 0
|  |  | SUM IIc: |  |  |  | 0
|  |  | SUM II: |  |  |  | 0 | per m: | 0 | per m: | 0
III COSTS OF DESIGN PREPARATION, GATHERING DOCUMENTATION AND MEETING OTHER CONDITIONS
1 | Costs of design preparation, gathering necessary documentation and meeting other conditions | per h |  |  |  | 4 | 0
|  |  | SUM III: |  |  |  | 0
| STANDARD CONNECTION TYPE |  | G11
| No. of metering devices for settlement |  | 2
COST VALUE
1 | Fixed costs of connection for distance ≤25m
1.1 | - total | dinar | 0
1.2 | - per metering device | dinar | 0
2 | Variable costs of connection for distance of ≤25m
2.1 | - per meter | dinar/m | 0
2.2 | - per meter and metering device | dinar/m | 0
3 | Variable costs of connection for distance of ≤25m | dinar | 0
4 | - per meter
4.1 | - per meter and metering device | dinar/m | 0
4.2 | - по метру и мерном уређају | dinar/m | 0

## G12
Table 1.3 - STANDRD CONNECTION COST BREAKDOWN (excl. VAT)
STANDARD CONNECTION TYPE |  | G12 | Unit price |  |  | Fixed costs of connection for distance of ≤25m |  | Variable costs of connection for distance≤25m |  | Connection charge per metre for distance >25 m
No. | Cost description | Unit |  |  |  | Quantity | Total | Quantity | Total | Quantity | Total
I COSTS OF EQUIPMENT, DEVICES AND MATERIAL
1 | Cable connection cabinet with bases and fuses | pcs |  | 11000 | 11000 | 1 | 0 |  | 0
2 | Cabinet designed according to requirements of the distribution Co. according to SC | pcs |  | 26000 | 26000 | 0.5 | 0 |  | 0
3 | Three-phase two tariff meter | pcs |  | 6000 | 6000 | 2 | 0 |  | 0
4 | Cable PPОО-А 4x50 | m |  | 300 | 300 |  | 0 | 15 | 0
5 | Bendable conductor PPОО-А 4x50 mm2 | m |  | 300 | 300 | 10 | 0 |  | 0
6 | Automatic fuse "C" 63А | pcs |  | 460 | 460 | 6 | 0 |  | 0
7 | Small and other material | flat rate |  | 1000 | 1000 | 1 | 0 |  | 0
8 | Standard base with ОММ | pcs |  | 10000 | 10000 | 0.5 | 0 |  | 0
9 | [6 empty] | 0 |  | 0
10 | [6 empty] | 0 |  | 0
11 | [6 empty] | 0 |  | 0
12 | [6 empty] | 0 |  | 0
13 | [6 empty] | 0 |  | 0
|  |  | SUM I: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
II COSTS OF WORKS
IIа LABOUR COSTS
1 | Drilling holes in exterior facades | per h |  |  |  | 3 | 0 |  | 0
2 | Façade repairs | per h |  |  |  | 2 | 0 |  | 0
3 | Trenching for cable laying and backfill | m |  |  |  |  | 0 | 15 | 0
4 | Restoring of public place looks | m 2 |  |  |  |  | 0 | 6 | 0
5 | Electrical installation works: - erection of measurement distribution cabinet at the point of installation - installation of connection cable cabinet, - installation of meter and switching device - all necessary linking and connections | per h |  |  |  | 24 | 0 |  | 0
6 | Provision of links in the connection cable cabinet and customer connection | per h |  |  |  | 2 | 0 |  | 0
7 | [6 empty] | 0 |  | 0
8 | [6 empty] | 0 |  | 0
|  |  | SUM IIа: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIb COSTS OF MACHINERY USAGE WITH OPERATOR
1 | [6 empty] | 0 |  | 0
2 | [6 empty] | 0 |  | 0
3 | [6 empty] | 0 |  | 0
4 | [6 empty] | 0 |  | 0
5 | [6 empty] | 0 |  | 0
|  |  | SUM IIb: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIc COSTS OF VEHICLES WITH DRIVER
1 | Zastava 35.10 (RIVAL) | km |  |  |  | 50 | 0
2 | Zastava 35.10 (RIVAL) | per h |  |  |  | 2 | 0
3 | Zastava Yugo 45 | km |  |  |  | 50 | 0
4 | Zastava Yugo 45 | per h |  |  |  | 2 | 0
5 | [6 empty] | 0
|  |  | SUM IIc: |  |  |  | 0
|  |  | SUM II: |  |  |  | 0 | per m: | 0 | per m: | 0
III COSTS OF DESIGN PREPARATION, GATHERING DOCUMENTATION AND MEETING OTHER CONDITIONS
1 | Costs of design preparation, gathering necessary documentation and meeting other conditions | per hour |  |  |  | 4 | 0
|  |  | SUM III: |  |  |  | 0
| STANDARD CONNECTION TYPE |  | G12
| No. of metering devices for settlement |  | 2
COST VALUE
1 | Fixed costs of connection for distance ≤25m
1.1 | - total | dinar | 0
1.2 | - per metering device | dinar | 0
2 | Variable costs of connection for distance of ≤25m
2.1 | - per meter | dinar/m | 0
2.2 | - per meter and metering device | dinar/m | 0
3 | Cost of connection for distance ≤25m - per metering device | dinar | 0
4 | Cost of connection for distance of >25m
4.1 | - per meter | dinar/m | 0
4.2 | - per meter and metering device | dinar/m | 0

## G13
Table 1.3 - STANDRD CONNECTION COST BREAKDOWN (excl. VAT)
STANDARD CONNECTION TYPE |  | G13 | Unit price |  |  | Fixed costs of connection for distance of ≤25m |  | Variable costs of connection for distance≤25m |  | Connection charge per metre for distance >25 m
No. | Cost description | Unit |  |  |  | Quantity | Total | Quantity | Total | Quantity | Total
I COSTS OF EQUIPMENT, DEVICES AND MATERIAL
1 | Cable endings | pcs |  | 1200 | 1200 | 1 | 0 |  | 0
2 | Connection cable cabinet with bases and fuses | pcs |  | 11000 | 11000 | 1 | 0 |  | 0
3 | Cabinet designed according to requirements of the distribution Co. according to SC | pcs |  | 26000 | 26000 | 0.5 | 0 |  | 0
4 | Three-phase two tariff meter | pcs |  | 6000 | 6000 | 2 | 0 |  | 0
5 | Cable PPОО-А 4x50 | m |  | 300 | 300 |  | 0 | 15 | 0
6 | Cable protection | pcs |  | 1500 | 1500 | 1 | 0 |  | 0
7 | Bendable conductor PPОО-А 4x50 mm 2 | m |  | 300 | 300 | 10 | 0 |  | 0
8 | Automatic fuse "C" 63А | pcs |  | 460 | 460 | 6 | 0 |  | 0
9 | Small and other material | flat rate |  | 1000 | 1000 | 1 | 0 |  | 0
10 | Standard base with ОММ | pcs |  | 10000 | 10000 | 0.5 | 0 |  | 0
11 | Galvanized strap FeZn 25х4 мм2 | kg |  | 240 | 240 | 16 | 0 |  | 0
12 | Intersection piece | pcs |  | 90 | 90 | 1 | 0 |  | 0
13 | Overvoltage arrester 500V 5 kА | pcs |  | 400 | 400 | 3 | 0 |  | 0
|  |  | SUM I: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
II COSTS OF WORKS
IIа LABOUR COSTS
1 | Drilling holes in exterior facades | per h |  |  |  | 3 | 0 |  | 0
2 | Façade repairs | per h |  |  |  | 2 | 0 |  | 0
3 | Trenching for cable laying and backfill | m |  |  |  |  | 0 | 15 | 0
4 | Restoring of public place looks | m 2 |  |  |  |  | 0 | 8 | 0
5 | Electrical installation works for: - erection of measurement distribution cabinet at point of installation - installation of connection cable cabinet, - installation of meter and switching device - all necessary linking and connections | per h |  |  |  | 24 | 0 |  | 0
6 | Provision of links in the connection cable cabinet and customer connection | per h |  |  |  | 2 | 0 |  | 0
7 | Trenching for earthing OP and backfill Ископ рова за уземљење ОП и затрпавање | per h |  |  |  | 8 | 0 |  | 0
8 | Erection of OP, laying strap and connecting Монтажа ОП, полагање траке и повезивање | per h |  |  |  | 1.5 | 0 |  | 0
|  |  | SUM IIа: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIb COSTS OF MACHINERY USAGE WITH OPERATOR
1 | Hydraulic platform | km |  |  |  | 50 | 0 |  | 0
2 | Hydraulic platform | per h |  |  |  |  | 0 | 2 | 0
3 | [6 empty] | 0 |  | 0
4 | [6 empty] | 0 |  | 0
5 | [6 empty] | 0 |  | 0
|  |  | SUM IIb: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIc COSTS OF VEHICLES WITH DRIVER
1 | Zastava 35.10 (RIVAL) | km |  |  |  | 50 | 0
2 | Zastava 35.10 (RIVAL) | per h |  |  |  | 2 | 0
3 | Zastava Yugo 45 | per h |  |  |  | 50 | 0
4 | Zastava Yugo 45 | per h |  |  |  | 2 | 0
5 | [6 empty] | 0
|  |  | SUM IIc: |  |  |  | 0
|  |  | SUM II: |  |  |  | 0 | per m: | 0 | per m: | 0
III COSTS OF DESIGN PREPARATION, GATHERING DOCUMENTATION AND MEETING OTHER CONDITIONS
1 | Costs of design preparation, gathering necessary documentation and meeting other conditions | per hour |  |  |  | 4 | 0
|  |  | SUM III: |  |  |  | 0
| STANDARD CONNECTION TYPE |  | G13
| No. of metering devices for settlement |  | 2
COST VALUE
1 | Fixed costs of connection for distance ≤25m
1.1 | - total | dinar | 0
1.2 | - per metering device | dinar | 0
2 | Variable costs of connection for distance of ≤25m
2.1 | - per meter | dinar/m | 0
2.2 | - per meter and metering device | dinar/m | 0
3 | Cost of connection for distance ≤25m - per metering device | dinar | 0
4 | Cost of connection for distance of >25m
4.1 | - per meter | dinar/m | 0
4.2 | - per meter and metering device | dinar/m | 0

## G21
Table 1.3 - STANDRD CONNECTION COST BREAKDOWN (excl. VAT)
STANDARD CONNECTION TYPE |  | G21 | Unit price |  |  | Fixed costs of connection for distance of ≤25m |  | Variable costs of connection for distance≤25m |  | Connection charge per metre for distance >25 m
No. | Cost description | Unit |  |  |  | Quantity | Total | Quantity | Total | Quantity | Total
I COSTS OF EQUIPMENT, DEVICES AND MATERIAL
1 | Pole mounting equipment | pcs |  | 1860 | 1860 | 1 | 0 |  | 0 | 1 | 0
2 | Equipment for installation on the facility | pcs |  | 729 | 729 | 1 | 0 |  | 0 |  | 0
3 | Cable 2 x X00/О-А 3x70+54.6 mm 2 | m |  | 390 | 390 |  | 0 | 15 | 0 | 40 | 0
4 | Cabinet designed according to requirements of the distribution Co. according to SC | pcs |  | 190000 | 190000 | 0.5 | 0 |  | 0 |  | 0
5 | Three-phase two tariff meter | pcs |  | 6000 | 6000 | 16 | 0 |  | 0 |  | 0
6 | Automatic fuse "C" 63А | pcs |  | 460 | 460 | 48 | 0 |  | 0 |  | 0
7 | Small and other material | flat rate |  | 16000 | 16000 | 1 | 0 |  | 0 | 1 | 0
8 | Supporting pillar NB 9-250 | pcs |  | 9570 | 9570 |  | 0 |  | 0 | 1 | 0
9 | [6 empty] | 0 |  | 0 |  | 0
10 | [6 empty] | 0 |  | 0 |  | 0
11 | [6 empty] | 0 |  | 0 |  | 0
12 | [6 empty] | 0 |  | 0 |  | 0
13 | [6 empty] | 0 |  | 0 |  | 0
|  |  | SUM I: |  |  |  | 0 |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
II COSTS OF WORKS
IIа LABOUR COSTS
1 | Drilling holes in exterior facades | per h |  |  |  | 3 | 0 |  | 0 |  | 0
2 | Façade repairs | per h |  |  |  | 2 | 0 |  | 0 |  | 0
3 | Electrical installation works for: - постављање и затезање снопа, - erection of measurement distribution cabinet at the point of installation - necessary links. Installation of meter and switching device with connection. | per h |  |  |  | 48 | 0 |  | 0 | 16 | 0
4 | Provision of links on the pillar and customer connection | per h |  |  |  | 2 | 0 |  | 0 |  | 0
5 | Trenching and base construction for pillar | per h |  |  |  |  | 0 |  | 0 | 4 | 0
6 | [6 empty] | 0 |  | 0 |  | 0
7 | [6 empty] | 0 |  | 0 |  | 0
8 | [6 empty] | 0 |  | 0 |  | 0
|  |  | SUM IIа: |  |  |  | 0 |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIb COSTS OF MACHINERY USAGE WITH OPERATOR
1 | Hydraulic platform | km |  |  |  | 50 | 0 |  | 0 |  | 0
2 | Hydraulic platform | per h |  |  |  |  | 0 | 2 | 0 | 2 | 0
3 | Usage of HIAB | per h |  |  |  |  | 0 |  | 0 | 2 | 0
4 | Usage of HIAB | км |  |  |  |  | 0 |  | 0 | 50 | 0
5 | [6 empty] | 0 |  | 0 |  | 0
|  |  | SUM IIb: |  |  |  | 0 |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIc COSTS OF VEHICLES WITH DRIVER
1 | Zastava 35.10 (RIVAL) | km |  |  |  | 50 | 0
2 | Zastava 35.10 (RIVAL) | per h |  |  |  | 2 | 0
3 | Zastava Yugo 45 | km |  |  |  | 50 | 0
4 | Zastava Yugo 45 | per h |  |  |  | 2 | 0
5 | [6 empty] | 0
|  |  | SUM IIc: |  |  |  | 0
|  |  | SUM II: |  |  |  | 0 | per m: | 0 | per m: | 0
III COSTS OF DESIGN PREPARATION, GATHERING DOCUMENTATION AND MEETING OTHER CONDITIONS
1 | Costs of design preparation, gathering necessary documentation and meeting other conditions | per hour |  |  |  | 32 | 0
|  |  | SUM III: |  |  |  | 0
| STANDARD CONNECTION TYPE |  | G21
| No. of metering devices for settlement |  | 16
COST VALUE
1 | Fixed costs of connection for distance ≤25m
1.1 | - total | dinar | 0
1.2 | - per metering device | dinar | 0
2 | Variable costs of connection for distance of ≤25m
2.1 | - per meter | dinar/m | 0
2.2 | - per meter and metering device | dinar/m | 0
3 | Cost of connection for distance ≤25m - per metering device | dinar | 0
4 | Cost of connection for distance of >25m
4.1 | - per meter | dinar/m | 0
4.2 | - per meter and metering device | dinar/m | 0

## G22
Table 1.3 - STANDRD CONNECTION COST BREAKDOWN (excl. VAT)
STANDARD CONNECTION TYPE |  | G22 | Unit price |  |  | Fixed costs of connection for distance of ≤25m |  | Variable costs of connection for distance≤25m |  | Connection charge per metre for distance >25 m
No. | Cost description | Unit |  |  |  | Quantity | Total | Quantity | Total | Quantity | Total
I COSTS OF EQUIPMENT, DEVICES AND MATERIAL
1 | Connection cable cabinet with bases and fuses | pcs |  | 15000 | 15000 | 1 | 0 |  | 0
2 | Cabinet designed according to requirements of the distribution Co. according to SC | pcs |  | 190000 | 190000 | 0.5 | 0 |  | 0
3 | Three-phase two tariff meter | pcs |  | 6000 | 6000 | 16 | 0 |  | 0
4 | Cable 2xППОО-А 4x150 | m |  | 700 | 700 |  | 0 | 15 | 0
5 | Bendable conductor 2xППОО-А 4x150 mm2 | m |  | 700 | 700 | 10 | 0 |  | 0
6 | Automatic fuses "C" 63А | pcs |  | 460 | 460 | 48 | 0 |  | 0
7 | Small and other material | flat rate |  | 16000 | 16000 | 1 | 0 |  | 0
8 | [6 empty] | 0 |  | 0
9 | [6 empty] | 0 |  | 0
10 | [6 empty] | 0 |  | 0
11 | [6 empty] | 0 |  | 0
12 | [6 empty] | 0 |  | 0
13 | [6 empty] | 0 |  | 0
|  |  | SUM I: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
II COSTS OF WORKS
IIа LABOUR COSTS
1 | Drilling holes in exterior facades | per h |  |  |  | 3 | 0 |  | 0
2 | Façade repairs | per h |  |  |  | 2 | 0 |  | 0
3 | Asphalt cutting and trenching for cable laying and backfill | m |  |  |  |  | 0 | 15 | 0
4 | Restoring of public place looks | m 2 |  |  |  |  | 0 | 10 | 0
5 | Electrical installation works: - erection of measurement distribution cabinet at the point of installation - installation of connection cable cabinet, - installation of meter and switching device - all necessary linking and connections | per h |  |  |  | 48 | 0 |  | 0
6 | Provision of links in the connection cable cabinet and customer connection | per h |  |  |  | 2 | 0 |  | 0
7 | [6 empty] | 0 |  | 0
8 | [6 empty] | 0 |  | 0
|  |  | SUM IIа: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIb COSTS OF MACHINERY USAGE WITH OPERATOR
1 | [6 empty] | 0 |  | 0
2 | [6 empty] | 0 |  | 0
3 | [6 empty] | 0 |  | 0
4 | [6 empty] | 0 |  | 0
5 | [6 empty] | 0 |  | 0
|  |  | SUM IIb: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIc COSTS OF VEHICLES WITH DRIVER
1 | Zastava 35.10 (RIVAL) | km |  |  |  | 50 | 0
2 | Zastava 35.10 (RIVAL) | per h |  |  |  | 2 | 0
3 | Zastava Yugo 45 | km |  |  |  | 50 | 0
4 | Zastava Yugo 45 | per h |  |  |  | 2 | 0
5 | [6 empty] | 0
|  |  | SUM IIc: |  |  |  | 0
|  |  | SUM II: |  |  |  | 0 | per m: | 0 | per m: | 0
III COSTS OF DESIGN PREPARATION, GATHERING DOCUMENTATION AND MEETING OTHER CONDITIONS
1 | Costs of design preparation, gathering necessary documentation and meeting other conditions | per hour |  |  |  | 32 | 0
|  |  | SUM III: |  |  |  | 0
| STANDARD CONNECTION TYPE |  | G22
| No. of metering devices for settlement |  | 16
COST VALUE
1 | Fixed costs of connection for distance ≤25m
1.1 | - total | dinar | 0
1.2 | - per metering device | dinar | 0
2 | Variable costs of connection for distance of ≤25m
2.1 | - per meter | dinar/m | 0
2.2 | - per meter and metering device | dinar/m | 0
3 | Cost of connection for distance ≤25m - per metering device | dinar | 0
4 | Cost of connection for distance of >25m
4.1 | - per meter | dinar/m | 0
4.2 | - per meter and metering device | dinar/m | 0

## G23
Table 1.3 - STANDRD CONNECTION COST BREAKDOWN (excl. VAT)
STANDARD CONNECTION TYPE |  | G23 | Unit price |  |  | Fixed costs of connection for distance of ≤25m |  | Variable costs of connection for distance≤25m |  | Connection charge per metre for distance >25 m
No. | Cost description | Unit |  |  |  | Quantity | Total | Quantity | Total | Quantity | Total
I COSTS OF EQUIPMENT, DEVICES AND MATERIAL
1 | Cable endings | pcs |  | 2500 | 2500 | 1 | 0 |  | 0
2 | connection cable cabinet with bases and fuses | pcs |  | 15000 | 15000 | 1 | 0 |  | 0
3 | Cabinet designed according to requirements of the distribution Co. according to SC | pcs |  | 190000 | 190000 | 0.5 | 0 |  | 0
4 | Three-phase two tariff meter | pcs |  | 6000 | 6000 | 16 | 0 |  | 0
5 | Cable 2xPPОО-А 4x150 | m |  | 700 | 700 |  | 0 | 15 | 0
6 | Cable protection | pcs |  | 1500 | 1500 | 1 | 0 |  | 0
7 | Bendable conductor 2xPPОО-А 4x150 mm2 | m |  | 700 | 700 | 10 | 0 |  | 0
8 | Automatic fuses "C" | pcs |  | 460 | 460 | 48 | 0 |  | 0
9 | Small and other material | flat rate |  | 16000 | 16000 | 1 | 0 |  | 0
10 | Galvanized strap FeZn 25х4 мм2 | kg |  | 240 | 240 | 16 | 0 |  | 0
11 | Intersection piece | pcs |  | 90 | 90 | 1 | 0 |  | 0
12 | Overvoltage arrester 500V 5 kА | pcs |  | 400 | 400 | 3 | 0 |  | 0
13 | [6 empty] | 0 |  | 0
|  |  | SUM I: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
II COSTS OF WORKS
IIа LABOUR COSTS
1 | Drilling holes in exterior facades | per h |  |  |  | 3 | 0 |  | 0
2 | Façade repairs | per h |  |  |  | 2 | 0 |  | 0
3 | Asphalt cutting and trenching for cable laying and backfill | m |  |  |  |  | 0 | 15 | 0
4 | Restoring of public place looks | m2 |  |  |  |  | 0 | 12 | 0
5 | Electrical installation works: - erection of measurement distribution cabinet at the point of installation - installation of connection cable cabinet, - installation of meter and switching device - all necessary links and connections | per h |  |  |  | 48 | 0 |  | 0
6 | Provision of links in connection cable cabinet and customer connection | per h |  |  |  | 2 | 0 |  | 0
7 | Trenching for earthing of OP and backfill Ископ рова за уземљење ОП и затрпавање | per h |  |  |  | 8 | 0 |  | 0
8 | Erection of OP, laying strap and connecting Монтажа ОП, полагање траке и повезивање | per h |  |  |  | 1.5 | 0 |  | 0
|  |  | SUM IIа: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIb COSTS OF MACHINERY USAGE WITH OPERATOR
1 | Hydraulic platform | km |  |  |  | 50 | 0 |  | 0
2 | Hydraulic platform | per h |  |  |  |  | 0 | 2 | 0
3 | [6 empty] | 0 |  | 0
4 | [6 empty] | 0 |  | 0
5 | [6 empty] | 0 |  | 0
|  |  | SUM IIb: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIc COSTS OF VEHICLES WITH DRIVER
1 | Zastava 35.10 (RIVAL) | km |  |  |  | 50 | 0
2 | Zastava 35.10 (RIVAL) | per h |  |  |  | 2 | 0
3 | Zastava Yugo 45 | km |  |  |  | 50 | 0
4 | Zastava Yugo 45 | per h |  |  |  | 2 | 0
5 | [6 empty] | 0
|  |  | SUM IIc: |  |  |  | 0
|  |  | SUM II: |  |  |  | 0 | per m: | 0 | per m: | 0
III COSTS OF DESIGN PREPARATION, GATHERING DOCUMENTATION AND MEETING OTHER CONDITIONS
1 | Costs of design preparation, gathering necessary documentation and meeting other conditions | per hour |  |  |  | 32 | 0
|  |  | SUM III: |  |  |  | 0
| STANDARD CONNECTION TYPE |  | G23
| No. of metering devices for settlement |  | 16
COST VALUE
1 | Fixed costs of connection for distance ≤25m
1.1 | - total | dinar | 0
1.2 | - per metering device | dinar | 0
2 | Variable costs of connection for distance of ≤25m
2.1 | - per meter | dinar/m | 0
2.2 | - per meter and metering device | dinar/m | 0
3 | Cost of connection for distance ≤25m - per metering device | dinar | 0
4 | Cost of connection for distance of >25m
4.1 | - per meter | dinar/m | 0
4.2 | - per meter and metering device | dinar/m | 0

## G31
Table 1.3 - STANDRD CONNECTION COST BREAKDOWN (excl. VAT)
STANDARD CONNECTION TYPE |  | G31 | Unit price |  |  | Fixed costs of connection for distance of ≤25m |  | Variable costs of connection for distance≤25m |  | Connection charge per metre for distance >25 m
No. | Cost description | Unit |  |  |  | Quantity | Total | Quantity | Total | Quantity | Total
I COSTS OF EQUIPMENT, DEVICES AND MATERIAL
1 | Pole mounting equipment | ком |  | 1860 | 1860 | 1 | 0 |  | 0 | 1 | 0
2 | Equipment for installation on the facility | ком |  | 729 | 729 | 1 | 0 |  | 0 |  | 0
3 | Cable 2 x X00/О-А 3x70+54.6 mm 2 | m |  | 390 | 390 |  | 0 | 15 | 0 | 40 | 0
4 | Cabinet designed according to requirements of the distribution Co. according to SC | ком |  | 410000 | 410000 | 0.5 | 0 |  | 0 |  | 0
5 | Three-phase two tariff meter | ком |  | 6000 | 6000 | 32 | 0 |  | 0 |  | 0
6 | Automatic fuse "C"63А | ком |  | 460 | 460 | 96 | 0 |  | 0 |  | 0
7 | Small and other material | flat rate |  | 32000 | 32000 | 1 | 0 |  | 0 | 1 | 0
8 | Supporting pillar NB 9-250 | ком |  | 9570 | 9570 |  | 0 |  | 0 | 1 | 0
9 | [6 empty] | 0 |  | 0 |  | 0
10 | [6 empty] | 0 |  | 0 |  | 0
11 | [6 empty] | 0 |  | 0 |  | 0
12 | [6 empty] | 0 |  | 0 |  | 0
13 | [6 empty] | 0 |  | 0 |  | 0
|  |  | SUM I: |  |  |  | 0 |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
II COSTS OF WORKS
IIа LABOUR COSTS
1 | Drilling holes in exterior facades | per h |  |  |  | 6 | 0 |  | 0 |  | 0
2 | Façade repairs | per h |  |  |  | 4 | 0 |  | 0 |  | 0
3 | Electrical installation works for: - постављање и затезање снопа, - erection of measurement distribution cabinet at the point of installation - necessary links. Installation of meter and switching device with connection. | per h |  |  |  | 96 | 0 |  | 0 | 16 | 0
4 | Provision of link on the pillar and customer connection | per h |  |  |  | 2 | 0 |  | 0 |  | 0
5 | Trenching and pillar base construction | per h |  |  |  |  | 0 |  | 0 | 4 | 0
6 | [6 empty] | 0 |  | 0 |  | 0
7 | [6 empty] | 0 |  | 0 |  | 0
8 | [6 empty] | 0 |  | 0 |  | 0
|  |  | SUM IIа: |  |  |  | 0 |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIb COSTS OF MACHINERY USAGE WITH OPERATOR
1 | Hydraulic platform | km |  |  |  | 50 | 0 |  | 0 |  | 0
2 | Hydraulic platform | per h |  |  |  |  | 0 | 2 | 0 | 2 | 0
3 | Usage of HIAB | per h |  |  |  |  | 0 |  | 0 | 2 | 0
4 | Usage of HIAB | km |  |  |  |  | 0 |  | 0 | 50 | 0
5 | [6 empty] | 0 |  | 0 |  | 0
|  |  | SUM IIb: |  |  |  | 0 |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIc COSTS OF VEHICLES WITH DRIVER
1 | Zastava 35.10 (RIVAL) | km |  |  |  | 50 | 0
2 | Zastava 35.10 (RIVAL) | per h |  |  |  | 2 | 0
3 | Zastava Yugo 45 | km |  |  |  | 50 | 0
4 | Zastava Yugo 45 | per h |  |  |  | 2 | 0
5 | [6 empty] | 0
|  |  | SUM IIc: |  |  |  | 0
|  |  | SUM II: |  |  |  | 0 | per m: | 0 | per m: | 0
III COSTS OF DESIGN PREPARATION, GATHERING DOCUMENTATION AND MEETING OTHER CONDITIONS
1 | Costs of design preparation, gathering necessary documentation and meeting other conditions | per hour |  |  |  | 64 | 0
|  |  | SUM III: |  |  |  | 0
| STANDARD CONNECTION TYPE |  | G31
| No. of metering devices for settlement |  | 32
COST VALUE
1 | Fixed costs of connection for distance ≤25m
1.1 | - total | dinar | 0
1.2 | - per metering device | dinar | 0
2 | Variable costs of connection for distance of ≤25m
2.1 | - per meter | dinar/m | 0
2.2 | - per meter and metering device | dinar/m | 0
3 | Cost of connection for distance ≤25m - per metering device | dinar | 0
4 | Cost of connection for distance of >25m
4.1 | - per meter | dinar/m | 0
4.2 | - per meter and metering device | dinar/m | 0

## G32
Table 1.3 - STANDRD CONNECTION COST BREAKDOWN (excl. VAT)
STANDARD CONNECTION TYPE |  | G32 | Unit price |  |  | Fixed costs of connection for distance of ≤25m |  | Variable costs of connection for distance≤25m |  | Connection charge per metre for distance >25 m
No. | Cost description | Unit |  |  |  | Quantity | Total | Quantity | Total | Quantity | Total
I COSTS OF EQUIPMENT, DEVICES AND MATERIAL
1 | Connection cable cabinet with bases and fuses | pcs |  | 15000 | 15000 | 1 | 0 |  | 0
2 | Cabinet designed according to requirements of the distribution Co. according to SC | pcs |  | 410000 | 410000 | 0.5 | 0 |  | 0
3 | Three-phase two tariff meter | pcs |  | 6000 | 6000 | 32 | 0 |  | 0
4 | Cable 2xPPОО-А 4x150 | m |  | 1400 | 1400 |  | 0 | 15 | 0
5 | Bendable conductor 2xPPОО-А 4x150 mm2 | m |  | 1400 | 1400 | 20 | 0 |  | 0
6 | Automatic fuse "C"63А | pcs |  | 460 | 460 | 96 | 0 |  | 0
7 | Small and other material | flat rate |  | 32000 | 32000 | 1 | 0 |  | 0
8 | [6 empty] | 0 |  | 0
9 | [6 empty] | 0 |  | 0
10 | [6 empty] | 0 |  | 0
11 | [6 empty] | 0 |  | 0
12 | [6 empty] | 0 |  | 0
13 | [6 empty] | 0 |  | 0
|  |  | SUM I: |  |  |  | 0 |  | 0
[8 empty] | По m: | 0 | По m: | 0
II COSTS OF WORKS
IIа LABOUR COSTS
1 | Drilling holes in exterior facades | per h |  |  |  | 6 | 0 |  | 0
2 | Façade repairs | per h |  |  |  | 4 | 0 |  | 0
3 | Asphalt cutting and trenching for cable laying and backfill | m |  |  |  |  | 0 | 15 | 0
4 | Враћање јавне површине у првобитно стање | m2 |  |  |  |  | 0 | 10 | 0
5 | Electrical installation works for: - erection of measurement distribution cabinet at the point of installation - installation of connection cable cabinet, - installation of meter and switching device - all necessary links and connections | per h |  |  |  | 96 | 0 |  | 0
6 | Provision of links in the connection cable cabinet and customer connection | per h |  |  |  | 4 | 0 |  | 0
7 | [6 empty] | 0 |  | 0
8 | [6 empty] | 0 |  | 0
|  |  | SUM IIа: |  |  |  | 0 |  | 0
[8 empty] | По m: | 0 | По m: | 0
IIb COSTS OF MACHINERY USAGE WITH OPERATOR
1 | [6 empty] | 0 |  | 0
2 | [6 empty] | 0 |  | 0
3 | [6 empty] | 0 |  | 0
4 | [6 empty] | 0 |  | 0
5 | [6 empty] | 0 |  | 0
|  |  | SUM IIb: |  |  |  | 0 |  | 0
[8 empty] | По m: | 0 | По m: | 0
IIc COSTS OF VEHICLES WITH DRIVER
1 | Zastava 35.10 (RIVAL) | km |  |  |  | 50 | 0
2 | Zastava 35.10 (RIVAL) | per h |  |  |  | 2 | 0
3 | Zastava Yugo 45 | km |  |  |  | 50 | 0
4 | Zastava Yugo 45 | per h |  |  |  | 2 | 0
5 | [6 empty] | 0
|  |  | SUM IIc: |  |  |  | 0
|  |  | SUM II: |  |  |  | 0 | По m: | 0 | По m: | 0
III COSTS OF DESIGN PREPARATION, GATHERING DOCUMENTATION AND MEETING OTHER CONDITIONS
1 | Costs of design preparation, gathering necessary documentation and meeting other conditions | per h |  |  |  | 64 | 0
|  |  | SUM III: |  |  |  | 0
| STANDARD CONNECTION TYPE |  | G32
| No. of metering devices for settlement |  | 32
COST VALUE
1 | Fixed costs of connection for distance ≤25m
1.1 | - total | dinar | 0
1.2 | - per metering device | dinar | 0
2 | Variable costs of connection for distance of ≤25m
2.1 | - per meter | dinar/m | 0
2.2 | - per meter and metering device | dinar/m | 0
3 | Cost of connection for distance ≤25m - per metering device | dinar | 0
4 | Cost of connection for distance of >25m
4.1 | - per meter | dinar/m | 0
4.2 | - per meter and metering device | dinar/m | 0

## G33
Table 1.3 - STANDRD CONNECTION COST BREAKDOWN (excl. VAT)
STANDARD CONNECTION TYPE |  | G33 | Unit price |  |  | Fixed costs of connection for distance of ≤25m |  | Variable costs of connection for distance≤25m |  | Connection charge per metre for distance >25 m
No. | Cost description | Unit |  |  |  | Quantity | Total | Quantity | Total | Quantity | Total
I COSTS OF EQUIPMENT, DEVICES AND MATERIAL
1 | Cable endings | pcs |  | 2500 | 2500 | 1 | 0 |  | 0
2 | Connection cable cabinet with bases and fuses | pcs |  | 15000 | 15000 | 1 | 0 |  | 0
3 | Cabinet designed according to requirements of the distribution Co. according to SC | pcs |  | 410000 | 410000 | 0.5 | 0 |  | 0
4 | Three-phase two tariff meter | pcs |  | 6000 | 6000 | 32 | 0 |  | 0
5 | Cable 2х PPOO-A 4x150 | m |  | 700 | 700 |  | 0 | 15 | 0
6 | Cable protection | pcs |  | 1500 | 1500 | 1 | 0 |  | 0
7 | Bendable conductor ППОО-А 4x150 mm 2 | m |  | 700 | 700 | 20 | 0 |  | 0
8 | Automatic fuse "C" 63А | pcs |  | 460 | 460 | 96 | 0 |  | 0
9 | Small and other material | flat rate |  | 32000 | 32000 | 1 | 0 |  | 0
10 | Galvanized strap FE-Zn 25x4мм2 | kg |  | 1400 | 1400 | 16 | 0 |  | 0
11 | Overvoltage arrester 500V,5kA | pcs |  | 1400 | 1400 | 3 | 0 |  | 0
12 | Intersection piece | pcs |  | 240 | 240 | 1 | 0 |  | 0
13 | [6 empty] | 0 |  | 0
|  |  | SUM I: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
II COSTS OF WORKS
IIа LABOUR COSTS
1 | Drilling holes in exterior facades | per h |  |  |  | 6 | 0 |  | 0
2 | Façade repairs | per h |  |  |  | 4 | 0 |  | 0
3 | Asphalt cutting and trenching for cable laying and backfill | m |  |  |  |  | 0 | 15 | 0
4 | Restoring of public place looks | m2 |  |  |  |  | 0 | 12 | 0
5 | Electrical installation works: - erection of measurement distribution cabinet at the point of installation - installation of connection cable cabinet, - installation of meter and switching device - all necessary links and connections. | per h |  |  |  | 96 | 0 |  | 0
6 | Provision of links in connection cable cabinet and customer connection | per h |  |  |  | 2 | 0 |  | 0
7 | Trenching for earthing of OP and backfill Ископ рова за уземљење ОП и затрпавање | per h |  |  |  | 8 | 0 |  | 0
8 | Erection of OP, strap laying and linking Монтажа ОП, полагање траке и повезивање | per h |  |  |  | 1.5 | 0 |  | 0
|  |  | SUM IIа: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIb COSTS OF MACHINERY USAGE WITH OPERATOR
1 | Hydraulic platform | km |  |  |  | 50 | 0 |  | 0
2 | Hydraulic platform | per h |  |  |  |  | 0 | 2 | 0
3 | [6 empty] | 0 |  | 0
4 | [6 empty] | 0 |  | 0
5 | [6 empty] | 0 |  | 0
|  |  | SUM IIb: |  |  |  | 0 |  | 0
[8 empty] | per m: | 0 | per m: | 0
IIc COSTS OF VEHICLES WITH DRIVER
1 | Zastava 35.10 (RIVAL) | km |  |  |  | 50 | 0
2 | Zastava 35.10 (RIVAL) | per h |  |  |  | 2 | 0
3 | Zastava Yugo 45 | km |  |  |  | 50 | 0
4 | Zastava Yugo 45 | per h |  |  |  | 2 | 0
5 | [6 empty] | 0
|  |  | SUM IIc: |  |  |  | 0
|  |  | SUM II: |  |  |  | 0 | per m: | 0 | per m: | 0
III COSTS OF DESIGN PREPARATION, GATHERING DOCUMENTATION AND MEETING OTHER CONDITIONS
1 | Costs of design preparation, gathering necessary documentation and meeting other conditions | per hour |  |  |  | 64 | 0
|  |  | SUM III: |  |  |  | 0
| STANDARD CONNECTION TYPE |  | G33
| No. of metering devices for settlement |  | 32
COST VALUE
1 | Fixed costs of connection for distance ≤25m
1.1 | - total | dinar | 0
1.2 | - per metering device | dinar | 0
2 | Variable costs of connection for distance of ≤25m
2.1 | - per meter | dinar/m | 0
2.2 | - per meter and metering device | dinar/m | 0
3 | Cost of connection for distance ≤25m - per metering device | dinar | 0
4 | Cost of connection for distance of >25m
4.1 | - per meter | dinar/m | 0
4.2 | - per meter and metering device | dinar/m | 0

## Device price list
Table 1.4 - PRICE LIST OF THE DEVICE (excl. VAT)
No. | Description | Price
|  | One-phase | Three-phase
1 | Two-tariff digital meter
2 | Digital single-tariff meter
3 | Metering group
4 | One-tariff induction meter
5 | Two-tariff induction meter
6 | Switching device
7 | Device for tariff management (MTK/RTK)
8 | Two-tariff meter with integrated device for tariff management