## INSTRUCTION
Instructions how to fill in the tables
1. | Fill in only those cells marked yellow.
2. | Table 2.2.1 is not o be filled in because data from tables 2.2.3 and 2.2.4 appear automatically
3. | Table 2.2.2 is not to be filled in because semi-deep costs appear automatically
4. | Table 2.2.3 - enter the following data:
- unit price of one transformer station (equipment, material, works)
- unit cost of design preparation and provision of other documentation is the cost relating to one transformer station
5. | Table 2.2.4 - enter the following data:
- unit cost of line is the price of 1km of overhead line or cable
- unit costs of works is the cost of works required for construction of 1km of overhead line or cable
- cost of design preparation and provision of other documentation is the cost relating to one overhead line or cable
6. | Table 2.2.5 - enter data about distribution network proportions:
- total number of 110/10 kV TS, 110/20 kV TS, 110/35 kV TS and 35/10 kV TS within the distribution network
- total number and length of overhead and underground lines coming out of transformer stations whose number is indicated in the table
7. | Table 2.2.6 - enter data about distribution network proportions:
- installed power of all 110/10 kV TS within the distribution network constructed in the open
- installed power of all 110/10 kV TS with housing within the distribution network (SF6 technology)

## DTS-MV-Price
Table 2.2.1 - Distribution network as methodology definition
Network elements | Costs | Installed power
| (dinar) | (kW)
CONNECTION TO 10 kV NETWORK
TS | 0
Lines | 0
Total | 0 | 64000
CONNECTION TO 20 kV NETWORK
TS | 0
Lines | 0
Total | 0 | 63000
CONNECTION TO 35 kV NETWORK
TS | 0
Lines | 0
Total | 0 | 63000
Table 2.2.2 - SEMI-DEEP COSTS FOR FACILITIES CONNECTED TO MEDIUM VOLTAGE NETWORK
Network voltage level | Coefficient of customer's portion in semi-deep costs | Load coefficient in winter period | Capacity reserve coefficient | Load coincidence factor | SEMI_DEEP COSTS
(dinar/kW)
10 kV | 0.8 | 1.3 | 0.2 | 0.4 | 0
20 kV | 0.8 | 1.3 | 0.2 | 0.4 | 0
35 kV | 0.8 | 1.3 | 0.2 | 0.5 | 0

## DTS-MV-TS
Table 2.2.3 - SEMI-DEEP COSTS FOR FACILITIES CONNECTED TO MV NETWORK - TRANSFORMER STATIONS
Transformer station | Installed demand |  | Weighted demand for 10 kV network |  | Quantity | Unit prices for TS |  |  | TOTAL COSTS (weighted for 10 kV network)
|  |  | weight | demand |  | TS alone | Design and other docs | Total
| (МVA) |  |  |  | (pcs) | (din/pcs) | (din/pcs) | (din/pcs) | (dinar)
CONNECTION TO 10 kV NETWORK
TS 110/10 kV | 2x31,5 | 63 | 0 | 0 | 1 |  |  | 0 | 0
TS 110/10kV-with housing | 2x40 | 80 | 0 | 0 | 1 |  |  | 0 | 0
TS 35/10 kV | 2x8 | 16 |  | 16 | 4 |  |  | 0 | 0
TOTAL |  |  |  | 64 | 6 |  |  |  | 0
CONNECTION TO 20 kV NETWORK
TS 110/20 kV | 2x31,5 | 63 |  |  | 1 |  |  | 0 | 0
TOTAL |  | 63 |  |  | 1 |  |  |  | 0
CONNECTION TO 35 kV NETWORK
TS 110/35 kV | 2x31,5 | 63 |  |  | 1 |  |  | 0 | 0
TOTAL |  | 63 |  |  | 1 |  |  |  | 0

## DTS-MV-Line
Table 2.2.4 - SEMI-DEEP COSTS FOR FACILITIES CONNECTED TO MV NETWORK - LINES
Lines from TS | Line type | Average length of 1 line | No. of lines per TS | Total length of lines | Unit price of |  |  | Design and other docs | TOTAL COSTS
[5 empty] | Line | Works | Total
|  | (km) | (pcs) | (km) | (dinar/km) | (dinar/km) | (dinar/km) | (dinar/line) | (dinar)
CONNECTION TO 10 kV NETWORK
TS 110/10 kV; 2x31,5 MVA | OHL 10kV, Alč 3x95mm2 на БС | 0 | 0 | 0 |  |  | 0 |  | 0
TS 110/10 kV; 2x31,5 MVA | Cable 10kV, XHE 49 3x150mm2 | 0 | 0 | 0 |  |  | 0 |  | 0
TS 35/10 kV; 2x8 MVA | OHL 10kV, Alč 3x95mm2 на БС | 0 | 0 | 0 |  |  | 0 |  | 0
TS 35/10 kV; 2x8 MVA | Cable 10kV, XHE 49 3x150mm2 | 0 | 0 | 0 |  |  | 0 |  | 0
| OHL 35kV, Alč 3x95mm2 на MС | 0 | 0 | 0 |  |  | 0 |  | 0
| Cable 35kV, XHE 49 3x150mm2 | 0 | 0 | 0 |  |  | 0 |  | 0
TOTAL | [8 empty] | 0
CONNECTION TO 20 kV NETWORK
TS 110/20 kV; 2x31,5 MVA | OHL 10kV, Alč 3x95mm2 на БС | 0 | 0 | 0 |  |  | 0 |  | 0
TS 110/20 kV; 2x31,5 MVA | Cable 10kV, XHE 49 3x150mm2 | 0 | 0 | 0 |  |  | 0 |  | 0
TOTAL | [8 empty] | 0
CONNECTION TO 35 kV NETWORK
TS 110/35 kV; 2x31,5 MVA | OHL 35kV, Alč 3x95mm2 на MС | 0 | 0 | 0 |  |  | 0 |  | 0
TS 110/35 kV; 2x31,5 MVA | Cable 35kV, XHE 49 3x150mm2 | 0 | 0 | 0 |  |  | 0 |  | 0
TOTAL | [8 empty] | 0

## DTS-Existing Network
Table 2.2.5 - LINES COMING FROM TRANSFORMER STATIONS - data for entire network
Transformer station | Total No. of TS within network | Line coming from transformer stations
|  | Line type | Total No. of lines | Total length of lines | No. of lines per TS | Average length of lines
|  |  |  | (km) |  | (km)
TS 110/10 kV; 2x31,5 MVA |  | 10 kV-OHL |  |  | 0 | 0
|  | 10 kV-underground |  |  | 0 | 0
TS 110/20 kV; 2x31,5 MVA |  | 20 kV-OHL |  |  | 0 | 0
|  | 20 kV-underground |  |  | 0 | 0
TS 110/35 kV; 2x31,5 MVA |  | 35 kV-OHL |  |  | 0 | 0
|  | 35 kV-underground |  |  | 0 | 0
TS 35/10 kV; 2x8 MVA |  | 10 kV-OHL |  |  | 0 | 0
|  | 10 kV-underground |  |  | 0 | 0
Note: | Data about lines relate to those TS whose total number is indicated in the table
Table 2.2.6 - ТS 110/10 kV EXISTING WITHIN THE SYSTEM
Transformer station | Installed demand of all TS | Demand share (weight)
(МVA)
TS 110/10 kV in the open |  | 0
TS 110/10 kV with housing |  | 0
TOTAL | 0 | 0