## 1. Cover page
Дистрибуција електричне енергије
|  |  |  | Standard Connection Charges |  |  |  | Управљање дистрибутивним системом за електричну енергију
| Open a blank file to fill in, do not fill this EXAMPLE in. Before data entry, enter the NAME OF THE ENERGY ENTITY AND DATE into the blank file name! | [6 empty] | Трговина на мало електричном енергијом за потребе тарифних купаца
Standard connection category:
| Natural gas - technical and energy data | [5 empty] | Mark standard connection categories
| Energy activity : | 20 - Natural Gas Distribution |  |  | G- | 2.5 | for which the tables are filled in
[5 empty] | G- | 4
[5 empty] | G- | 6
Energy entity's name:
Main office and address:
Licence No.:
| Year: |  |  | 2010
| Contact person - technical data: |  |  | Person Т
| Contact person economic data: |  |  | Person Е
| Contact info: |  | * Phone - technical: | 021 55 55 888
* Phone - economics:
* Fax:
* E-mail:
| Date of processing: |  |  | 25.11.2009.
Notes:
1) | Enter data required for calculations into cells marked yellow.
2) | Methodology - Connection Charging Methodology - Natural Gas Transportation and Distribution
3) | Where charges of two or all three (G-2,5, G-4 and G-6) standard connection categories of energy entities differ only in household meter and regulation set (HMRS) , fill only one table package in by entering for each of the category different costs only of HMRS in table 3. - items 1.1, 1.2, 1.3.
4) | An energy entity may choose to either calculate the capacity usage ratio (SIM) for each of the networks separately, or to have a single value for all networks under pressure of p<6 bar, but it may not combine these two methods when calculating SIM.
5) | Energy entities, which also have other costs varying by standard connection categories, fill a table package in at a time for any of the connection category they may have.
6) | Except for BMB-95 and D-2 fuel market prices, unit market prices and man-hour market prices shall be expressed without VAT.
7) | In case the energy entity carries out works by itself, the person-hour price is determined according to the standardised level of educational attainment and occupational profile of persons involved, on the basis of gross wages with contributions payable by the employer for persons engaged in carrying out the works, calculated for the month preceding the month in which the act on setting standard connection charge levels is adopted, and converted to the number of working hours in the month.
8) | In case the connection charge breakdown elements are outsourced by the energy entity, the market price is determined on the basis of sent out invoices and the contractor’s circumstances at the time the last connection charge breakdown element is provided.
9) | Only one of available options may be chosen for each of the items when deciding how to provide assets.
10) | Pages 1-7 of table shall be an integral part of the Decision of EE on standard connection charge level; Data on page 7 shall be part of the Decision text On page 8 is the table – assistance for EE in calculations for a specific applicant
11) | Abbreviations: | - for device names and costs (in tables in parenthesis) the abbreviations are the same as in the Methodology and
- ЕE - energy entity

## 2. Documentation cost
SERBIAN ENERGY AGENCY
Energy entity's name:
Energy activity : 20 - Natural Gas Distribution
Date of processing: 25.11.2009.
Table 1. - Characteristic distance of facility to be connected from network
| No. | Characteristic distances from network | [7 empty] | Measurement unit | Distance | N O T E S
| 1. | Standard distance from network | [7 empty] | m | 12 | chargeable parameter for standard connection charging
| 1.1 | Average distance of facility from network to which it is to be connected, in all energy entity's networks, measured along the gas pipeline route | [7 empty] | m | 12
| 1.2 | The maximum allowed standard distance | [7 empty] | m | 12 | Defined in the Methodology
| 2. | Distance frontier from network | [7 empty] | m | 20 | A distance range from network within which variable part of standard connection charges is calculated for a standard distance from network
| 2.1. | The maximum allowed distance frontier | [7 empty] | m | 20 | Defined in the Methodology
Table 2. - Costs of design preparation and provision of required documentation (TPD*)
| No. | Item | Measurement unit | Quantity | Provision on one's own |  |  |  | Outsourcing |  | TOTAL | N O T E S
[5 empty] | Option 1 |  |  |  | Option 2
[5 empty] | Level of education and profile | No. of person-hours | Value of a person-hour | total option 1 | unit market price | total option 2
|  |  | (MU) |  |  | hour | dinar/hour | dinar | dinar/MU | dinar | dinar
| 1. | Costs of design preparation and provision of required documentation | [8 empty] | 1950
| 1.1. | Connection design (main or as-built design) | piece | 1 | VII | 2.5 | 780 | 1950 |  | 0 | 1950 | Is calculated for: - main design of connection in case the specific connection is not included in the network construction approval; - as-built design, in case the specific connection is included in the approval for network construction with connections.
| 1.2. | Geodetic survey, updating pipeline cadastral books and modifications to the pipeline cadastral map (mapping) | piece | 1 | [5 empty] | 0 | 4596,90 | According to the price list of Republic Geodetic Authority, for connection length of up to 50m, the payment is fixed per connection

## 3. Costs of equip.
SERBIAN ENERGY AGENCY
Energy entity's name:
Energy activity : 20 - Natural Gas Distribution
Date of processing: 25.11.2009.
Table 3. - Costs of equipment, devices and material
| No. | Item | Dimensions | Measurement unit | Quantity | Provision on one's own |  | Outsourcing |  | TOTAL | N O T E S
[6 empty] | Option 1 |  | Option 2
[6 empty] | unit price | total option 1 | unit market price | total option 2
|  |  |  | (MU) |  | dinar/MU | dinar | dinar/MU | dinar | dinar
| 1. | Costs of equipment, devices and material for standard distance from network (TKMRS + FTOO + JVTO x TU)
| 1.1 | HMRS, G - 2,5 type | [7 empty] | 21327.54 | Total costs only for those categories for which the table, i.e. cost of HMRS is filled in, will appear
| 1.2 | HMRS, G - 4 type | [7 empty] | 23699.54
| 1.3 | HMRS, G - 6 type | [7 empty] | 26764.54
| 2. | Costs of HMRS with cabinet
| 2.1 | HMRS for G - 2,5 category |  | pcs | 1 |  | 0 | 13443 | 13443 | 13443 | Enter costs only for those categories of standard connection for which the table is filled in. Indicate the costs of overall HMRS with elements for erection.
| 2.2 | HMRS for G - 4 category |  | pcs | 1 |  | 0 | 15815 | 15815 | 15815
| 2.3 | HMRS for G - 6 category |  | pcs | 1 |  | 0 | 18880 | 18880 | 18880
| 3. | Fixed costs of other equipment, devices and material (FTOO) for standard distance from network, without HMRS |  |  |  |  | 501.5 |  | 6644.08 | 7145.58
| 3.1 | saddle or T piece with reductor | DN/DN | pcs | 1 | 0 | 0 | 1306.26 | 1306.26 | 1306.26
| 3.2 | coupling | DN | pcs | 2 |  | 0 | 459.02 | 918.04 | 918.04
| 3.3 | PE/steel piece | DN / Φ | pcs | 1 | 0 | 0 | 886.18 | 886.18 | 886.18
| 3.4 | cock | " | pcs | 1 | 0 | 0 | 599.9 | 599.9 | 599.9
| 3.5 | steel pipe | Φ х m | m | 1.5 | 0 | 0 | 240.72 | 361.08 | 361.08
| 3.6 | protection steel pipe | Φ х m | pcs | 1 | 0 | 0 | 240.72 | 240.72 | 240.72 | Indicate the price of protection pipe ready for erection.
| 3.7 | concrete column with brass plate for reference |  | pcs | 1 | 501.5 | 501.5 | 0 | 0 | 501.5
| 3.8 | protection PE pipe | DN | m | 5 | 0 | 0 | 67.68 | 338.4 | 338.4
| 3.9 | concrete | m х m x m | m3 | 0.45 | 0 | 0 | 3270 | 1471.5 | 1471.5 | Calculate the average area and thickness of the concrete and asphalt layer for all networks of EE and indicate as text "m х m x m", for instance for concrete (1,5 х 1,5 х 0,1) and for asphalt (1,5 х 1,5 х 0,02).
| 3.10 | asphalt | m х m x m | m3 | 0.045 | 0 | 0 | 11600 | 522 | 522
| 3.11 |  |  |  | 1 |  | 0 |  | 0 | 0 | In case some items remain unmentioned or significantly differ from those that are mentioned, indicate the specific items and their characteristics : dimensions, measurement unit, quantity, unit prices and total cost.
| 3.12 | [5 empty] | 0 |  | 0 | 0
| 3.13 | [5 empty] | 0 |  | 0 | 0
| 3.14 | [5 empty] | 0 |  | 0 | 0
| 3.15 | [5 empty] | 0 |  | 0 | 0
| 4. | Variable costs of equipment and material for standard distance from network | [7 empty] | 738.96
| 5. | Unit variable cost of equipment and material (JVTO) |  | dinar/m |  |  | 2 |  | 59.58 | 61.58 | The unit costs for multiplying the difference between actual distance and distance range to frontier; all variable costs must be indicated per m!
| 5.1 | PE pipe | DN | m | 1 |  | 0 | 36.38 | 36.38 | 36.38
| 5.2 | Sand | m3 / m | m | 0.16 |  | 0 | 145 | 23.2 | 23.2 | Calculate how much m3 of sand is one metre of length in order to obtain the variable cost of sand per metre.
| 5.3 | Warning strap |  | m | 1 | 2 | 2 |  | 0 | 2
| 5.4 | [5 empty] | 0 |  | 0 | 0
| 5.5 | [5 empty] | 0 |  | 0 | 0
| 5.6 | [5 empty] | 0 |  | 0 | 0

## 4. Cost of works
SERBIAN ENERGY AGENCY
Energy entity's name:
Energy activity : 20 - Natural Gas Distribution
Date of processing: 25.11.2009.
Table 4.1. - Cost of works (ТР)
| No. | Item | Measur.unit MU | Quantity | Provision on one's own |  |  |  | Outsourcing | [5 empty] | N O T E S
[5 empty] | Option 1 |  |  |  | Option 2 |  | Опција 3
[5 empty] | level of education and profile | No. of person-hours | person hour value | total option 1 | unit market price | total option 2 | No. of person-hours | person-hour market price | total option 3 | TOTAL
[6 empty] | hour | dinar/hour | dinar | dinar/MU | dinar | hour | dinar/hour | dinar | dinar
| 1. | Costs of works for standard distance from network (FTP + JVTR х TU) | [11 empty] | 18648.4653
| 2. | Fixed costs of works (FTP) | [11 empty] | 15827.386
| 2.1 | Fixed costs of works carried out on connection | [5 empty] | 120.145 |  | 0 |  |  | 5619.741 | 5739.886
| 2.1.1 | saddle or T piece with reductor | pcs | 1 | IV | 0.25 | 480.58 | 120.145 |  | 0 |  |  | 0 | 120.145
| 2.1.2 | coupling | pcs | 2 |  |  |  | 0 |  | 0 | 0.25 | 480.58 | 120.145 | 120.145
| 2.1.3 | PE/steel piece | pcs | 1 |  |  |  | 0 |  | 0 | 0.25 | 480.58 | 120.145 | 120.145
| 2.1.4 | cock | pcs | 1 |  |  |  | 0 |  | 0 | 0.2 | 480.58 | 96.116 | 96.116
| 2.1.5 | protection steel pipe | pcs | 1 |  |  |  | 0 |  | 0 | 0.25 | 480.58 | 120.145 | 120.145 | indicate the price of erection of protection pipe prepared for installation and indicate the costs per piece for an averaged out length of protection steel pipe
| 2.1.6 | household meter regulation set with cabinet | pcs | 1 |  |  |  | 0 |  | 0 | 1 | 480.58 | 480.58 | 480.58 | indicate the price of erection and connection work of entire HMRS
| 2.1.7 | protection polietilene pipe | m | 1 |  |  |  | 0 |  | 0 | 0.1 | 480.58 | 48.058 | 48.058
| 2.1.8 | meter calibration | pcs | 1 |  |  |  | 0 |  | 0 | 1 | 480.58 | 480.58 | 480.58
| 2.1.9 | erection of concrete column with brass plate | pcs | 1 |  |  |  | 0 |  | 0 | 0.2 | 480.58 | 96.116 | 96.116
| 2.1.10 | concrete cutting | m2 | 2.25 |  |  |  | 0 |  | 0 | 0.2 | 480.58 | 96.116 | 96.116
| 2.1.11 | concrete breaking | m3 | 2.25 |  |  |  | 0 |  | 0 | 1 | 480.58 | 480.58 | 480.58 | average out the area and depth of concrete for all EE's networks
| 2.1.12 | boring | m | 0 |  |  |  | 0 |  | 0 | 1 | 480.58 | 480.58 | 480.58 | sum of lengths for boring and trenching shall not exceed the standard distance
| 2.1.13 | trenching | m3 | 1.5 |  | 0 | 0 | 0 |  | 0 | 1 | 480.58 | 480.58 | 480.58
| 2.1.14 | concrete work | m3 | 0.45 |  | 0 | 0 | 0 |  | 0 | 1.6 | 600 | 960 | 960 | overall works and costs of delivery of concrete / asphalt relate exclusively to covering public area (outside backyards).
| 2.1.15 | asphalting | m2 | 2.25 | [5 empty] | 0 | 1 | 1560 | 1560 | 1560
| 2.1.16 | [6 empty] | 0 |  | 0 |  |  | 0 | 0 | in case additional items have been entered into Table 3, here also should be included items for works
| 2.1.17 | [6 empty] | 0 |  | 0 |  |  | 0 | 0
| 2.1.18 | [6 empty] | 0 |  | 0 |  |  | 0 | 0
| 2.2 | Fixed costs of using machinery, tools, equipment with operator and vehicles with drivers (from Table 4.2.) | [11 empty] | 4762.5
| 2.3. | Fixed costs of technical and operational tasks (TSO) | [5 empty] | 750 |  | 4200 |  |  | 375 | 5325
| 2.3.1 | identification of technical requirements for connection construction | connection | 1 |  | 0.75 | 500 | 375 |  | 0 |  |  | 0 | 375 | localization of the measurement-regulation device and connection route
| 2.3.2 | technical supervision of construction works | connection | 1 |  | 0.75 | 500 | 375 |  | 0 |  |  | 0 | 375
| 2.3.3 | technical supervision of machinery-erection works | connection | 1 |  |  |  | 0 |  | 0 | 0.75 | 500 | 375 | 375
| 2.3.4 | technical inspection of indoor gas installations before first gas supply | connection | 1 |  |  |  | 0 | 4200 | 4200 |  |  | 0 | 4200
| 3. | Variable costs of works (VRT) for standard distance (TU) | m | 12 | [9 empty] | 2821.0793
| 3.1 | Unit variable costs of works (JVTR) | dinar/m |  |  |  |  | 0 |  | 0 |  |  | 235.0899 | 235.0899
| 3.1.1 | trenching | m | 1 |  | 0 | 0 | 0 |  | 0 | 0.25 | 406.73 | 101.6825 | 101.6825 | Enter the trench dimensions, as text : TU х 0,8 х 0,4
| 3.1.2 | pipe laying | m | 1 |  | 0 | 0 | 0 |  | 0 | 0.017 | 406.73 | 6.9144 | 6.9144
| 3.1.3 | laying of warning strap | m | 1 |  | 0 | 0 | 0 |  | 0 | 0.017 | 406.73 | 6.9144 | 6.9144
| 3.1.4 | soil backfill | m | 1 |  | 0 | 0 | 0 |  | 0 | 0.11 | 406.73 | 44.7403 | 44.7403
| 3.1.5 | sand backfill | m | 1 |  | 0 | 0 | 0 |  | 0 | 0.1 | 406.73 | 40.673 | 40.673
| 3.1.6 | loading and unloading of soil surplus | m | 1 |  | 0 | 0 | 0 |  | 0 | 0.042 | 406.73 | 17.0827 | 17.0827
| 3.1.7 | loading and unloading of sand | m | 1 |  | 0 | 0 | 0 |  | 0 | 0.042 | 406.73 | 17.0827 | 17.0827
| 3.1.8 | [5 empty] | 0 | 0 |  | 0 |  |  | 0 | 0
| 3.1.9 | [5 empty] | 0 | 0 |  | 0 |  |  | 0 | 0
| 3.1.10 | [5 empty] | 0 | 0 |  | 0 |  |  | 0 | 0
| 3.1.11 | [5 empty] | 0 | 0 |  | 0 |  |  | 0 | 0
| 3.1.12 | [5 empty] | 0 | 0 |  | 0 |  |  | 0 | 0
a
| No. | Item | Measur. Unit (MU) | Quantity | Fuel type | Fuel market price | Total | [7 empty] | N O T E
[6 empty] | dinar/litre | dinar
| 1. | Total |  |  |  |  | 4762.5
| 1.1 | Fixed costs of using machinery with operator | litre | 15 | D-2 | 90 | 1350 | [7 empty] | equivalent value of work, converted to cost of fuel
| 1.2 | Fixed costs of using special tools and equipment with operator | % | 15 |  |  | 202.5 | [7 empty] | equivalent value of work to the amount of 15% of the previous position
| 1.3 | Fixed costs of vehicles with driver | litre | 30 | BMB-95 | 107 | 3210 | [7 empty] | equivalent value of work, converted to cost of fuel

## 5. Capacity usage ratio
SERBIAN ENERGY AGENCY
Energy entity's name:
Energy activity : 20 - Natural Gas Distribution
Date of processing: 25.11.2009.
Table 5. - Capacity usage ratio for network under operating pressure of р<6 bar
| No. | Network name | PKM | Standard connection |  | Custom connection |  | Group connection |  |  | Capacity usage | Network capacity usage ratio (SIM) | N O T E S
|  |  |  | No. | Total capacity | No. | Σ Okip | No. | Total No. of MU | Σ МKgp
|  |  | m3 / h |  | m3 / h |  | m3 / h |  | No. | m3 / h | m3 / h
|  | All networks of EE under operating pressure of р<6 bar | 53000 | 12800 | 15360 | 225 | 8882 | 133 | 1872 | 5620 | 29862 | 0.56343 | DTS is calculated
| 1 | Potok | 5000 | 700 | 840 | 30 | 1905 | 16 | 128 | 180 | 2925 | 0.585 | DTS is calculated
| 2 | Detelinara | 4500 | 1200 | 1440 | 16 | 600 | 10 | 120 | 160 | 2200 | 0.48889 | DTS is calculated
| 3 | Livade | 6000 | 1800 | 2160 | 32 | 2032 | 16 | 104 | 160 | 4352 | 0.72533 | DTS is not calculated !!
| 4 | Mirosaljci | 6500 | 2500 | 3000 | 25 | 800 | 10 | 800 | 920 | 4720 | 0.72615 | DTS is not calculated !!
| 5 | Lipnica | 3500 | 1100 | 1320 | 18 | 600 | 16 | 120 | 160 | 2080 | 0.59429 | DTS is calculated
| 6 | Mreza 6 | 8000 | 2000 | 2400 | 36 | 800 | 16 | 120 | 160 | 3360 | 0.42 | DTS is calculated
| 7 | Mreza 7 | 8500 | 2200 | 2640 | 40 | 1200 | 32 | 280 | 3500 | 7340 | 0.86353 | DTS is not calculated !!
| 8 | Mreza 8 | 9000 | 1200 | 1440 | 25 | 750 | 15 | 150 | 250 | 2440 | 0.27111 | DTS is calculated
| 9 | Mreza 9 | 2000 | 100 | 120 | 3 | 195 | 2 | 50 | 130 | 445 | 0.2225 | DTS is calculated
| 10 | Mreza 10 |  |  | 0 | [5 empty] | 0
| 11 | Mreza 11 |  |  | 0 | [5 empty] | 0
| 12 | Mreza 12 |  |  | 0 | [5 empty] | 0
| 13 | Mreza 13 |  |  | 0 | [5 empty] | 0
| 14 | Mreza 14 |  |  | 0 | [5 empty] | 0
| 15 | Mreza 15 |  |  | 0 | [5 empty] | 0
| 16 | Mreza 16 |  |  | 0 | [5 empty] | 0
| 17 | Mreza 17 |  |  | 0 | [5 empty] | 0
| 18 | Mreza 18 |  |  | 0 | [5 empty] | 0
| 19 | Mreza 19 |  |  | 0 | [5 empty] | 0
| 20 | Mreza 20 |  |  | 0 | [5 empty] | 0
| 21 | Mreza 21 |  |  | 0 | [5 empty] | 0
| 22 | Mreza 22 |  |  | 0 | [5 empty] | 0
| 23 | Mreza 23 |  |  | 0 | [5 empty] | 0
| 24 | Mreza 24 |  |  | 0 | [5 empty] | 0
| 25 | Mreza 25 |  |  | 0 | [5 empty] | 0
| 26 | Mreza 26 |  |  | 0 | [5 empty] | 0
| 27 | Mreza 27 |  |  | 0 | [5 empty] | 0
| 28 | Mreza 28 |  |  | 0 | [5 empty] | 0
| 29 | Mreza 29 |  |  | 0 | [5 empty] | 0
| 30 | Mreza 30 |  |  | 0 | [5 empty] | 0
| Notes: | For M networks, first M rows must be filled in. M has the value from 1 to the number of networks.
Proper inserting of numbers (B column) is important for having a correct value for DTS in table 8.1.
Fill in the rows in the given order, without row skipping.
Note on C13: Enter name of network
Note on C42: Insert rows if needed
Note on F10: Укупни капацитет изграђених типских прикључака
Note on H10: Сума одобрених капацитета МРУ индивидуалних прикључака
Note on K10: Сума максималних капацитета РУ групних прикључака

## 6. DTS p< 6 bar network
SERBIAN ENERGY AGENCY
Energy entity's name:
Energy activity : 20 - Natural Gas Distribution
Date of processing: 25.11.2009.
| Table 6.1. - DTS by networks with operating pressure of р<6 bar | [6 empty] | Table 6.2. - Supporting table - input data for the calculation of DTS for networks with operating pressure of р<6 bar
| No. | Network name | Network capacity usage ratio (SIM) | DTS for connection with meter type |  |  | N O T E S | No. | Data | Measur.unit | Amount in dinar
|  |  |  | G-2,5 | G-4 | G-6 |  | 1. | KTP - coefficient for DTStp | dinar / m3/h | 3000
|  | All networks of EE with operating pressure of р<6 bar | 0.56343 | 5238.7925 | 7858.1887 | 13096.9811 | DTS is calculated | 2. | Maximum capacity of MRS
| 1 | Potok | 0.585 | 4980 | 7470 | 12450 | DTS is calculated | 2.1 | from HMRS of type G - 2,5 | m3/h | 4
| 2 | Detelinara | 0.48889 | 6133.3333 | 9200 | 15333.3333 | DTS is calculated | 2.2 | from HMRS of type G - 4 | m3/h | 6
| 3 | Livade | 0.72533 | 0 | 0 | 0 | DTS is not calculated !! | 2.3 | from HMRS of type G - 6 | m3/h | 10
| 4 | Mirosaljci | 0.72615 | 0 | 0 | 0 | DTS is not calculated !!
| 5 | Lipnica | 0.59429 | 4868.5714 | 7302.8571 | 12171.4286 | DTS is calculated
| 6 | Mreza 6 | 0.42 | 6960 | 10440 | 17400 | DTS is calculated
| 7 | Mreza 7 | 0.86353 | 0 | 0 | 0 | DTS is not calculated !!
| 8 | Mreza 8 | 0.27111 | 8746.6667 | 13120 | 21866.6667 | DTS is calculated
| 9 | Mreza 9 | 0.2225 | 9330 | 13995 | 23325 | DTS is calculated
| 10 | Mreza 10 |  | 0 | 0 | 0
| 11 | Mreza 11 |  | 0 | 0 | 0
| 12 | Mreza 12 |  | 0 | 0 | 0
| 13 | Mreza 13 |  | 0 | 0 | 0
| 14 | Mreza 14 |  | 0 | 0 | 0
| 15 | Mreza 15 |  | 0 | 0 | 0
| 16 | Mreza 16 |  | 0 | 0 | 0
| 17 | Mreza 17 |  | 0 | 0 | 0
| 18 | Mreza 18 |  | 0 | 0 | 0
| 19 | Mreza 19 |  | 0 | 0 | 0
| 20 | Mreza 20 |  | 0 | 0 | 0
| 21 | Mreza 21 |  | 0 | 0 | 0
| 22 | Mreza 22 |  | 0 | 0 | 0
| 23 | Mreza 23 |  | 0 | 0 | 0
| 24 | Mreza 24 |  | 0 | 0 | 0
| 25 | Mreza 25 |  | 0 | 0 | 0
| 26 | Mreza 26 |  | 0 | 0 | 0
| 27 | Mreza 27 |  | 0 | 0 | 0
| 28 | Mreza 28 |  | 0 | 0 | 0
| 29 | Mreza 29 |  | 0 | 0 | 0
| 30 | Mreza 30 |  | 0 | 0 | 0
Note on C42: Додати потребан број врста

## 7. Costs of STANDRD connection
SERBIAN ENERGY AGENCY
Energy entity's name:
Energy activity : 20 - Natural Gas Distribution
Date of processing: 25.11.2009.
Table 7. - Recap of standard connection cost (TItp)
| No. | Cost | Measur. Unit | Amount | N O T E S
| 1. | Costs of constructing a standard connection with HMRS (without discount and DTS), if the connection is constructed after initial gas supply to network (TItpi), for standard connection categories:
| 1.1 | G-2,5 | dinar | 41926.0053
| 1.2 | G-4 | dinar | 44298.0053
| 1.3 | G-6 | dinar | 47363.0053
| 2. | Costs of constructing a standard connection with HMRS (without discount and DTS), if the connection is constructed simultaneously with network, for standard connection categories:
| 2.1 | G-2,5 | dinar | 33540.8042 | For construction simultaneous with network, before initial supply of gas to network, costs from 1 are decreased by 20%.
| 2.2 | G-4 | dinar | 35438.4042
| 2.3 | G-6 | dinar | 37890.4042
| 3. | Unit variable costs of equipment and works for any additional metre above the distance frontier | dinar/m | 296.6699
| 4. | Semi-deep costs Део трошкова система (DTS)
| 4.1 | if DTS is universal for all energy entity's networks, for standard connection categories:
| 4.1.1 | G-2,5 | dinar | 5238.7925
| 4.1.2 | G-4 | dinar | 7858.1887
| 4.1.3 | G-6 | dinar | 13096.9811
| 4.2 | if DTS is different for each EE's network, DTS is calculated for a specific user према табели "6. - Вредности ДТС по мрежама p< 6 bar"
| 5. | Date when indicated costs start to apply | date | 2010-01-01

## 8. Assist with EE calculation
SERBIAN ENERGY AGENCY
Energy entity's name:
Energy activity : 20 - Natural Gas Distribution
Date of processing: 25.11.2009.
Table 1 - Cost calculation for a particular user - input of data
| No. | Item |  | Measur.unit | Parameter / Option | N O T E S
| 1. | Name of applicant |  |  | Petar Petrovic
| 2. | Address of applicant (place, street and No.) |  |  | Becej, Lole Ribara 22
| 3. | Date of cost calculation |  | date | 2009-04-15
| 4. | Choose the standard connection category by entering the appropriate number: "1" - for G-2,5 category "2" - for G-4 category "3" - for G-6 category |  |  | 1
| 5. | Connection is constructed: "1" - together with network construction before first gas supply into network "2" - subsequently, after first supply of gas into network |  |  | 1
| 6. | Total connection length if it exceeds the distance frontier |  | m | 24.7
| 7. | DTS is calculated for: "0" - universal for all energy entity's networks "М" - for each of the EE's networks - enter the number of the relevant network |  |  | 2 | Detelinara
| 7.1 | Не обрачунава се јединствено за ЕС, него за појединачне мреже. За мрежу: |  | dinar | 0
| 7.2 | Detelinara |  |  | 6133.3333
| 8. | Cost born by user to create technical conditions to connect his own facility |  | dinar | 25000 | DTS will not be calculated if the user bears costs to create technical conditions to connect own facility
| 9. | The energy entity provides discount during the billing period * |  | dinar | 5000
| 10. | Correction of costs of connection construction for cases defined in the Methodology : |  | dinar | -6600
| 10.1 | increase for costs of crossing the street |  | dinar | 17500 | see item IV.1.3.3.2. of the Methodology
| 10.2 | increase for installation of equipment or construction works exceeding standard works |  | dinar | 1000 | see item IV.1.3.3.4. и IV.1.3.3.5. of the Methodology
| 10.3 | decrease due to one's own efforts, with approval and under supervision of EE |  | dinar | -8500
| 10.4 | decrease for costs of user incurred before Approval of connection |  | dinar | -16600 | see item IV.1.3.3.6. of the Methodology
| 11. | Additional fixed cost, if any, shall be indicated separately to their actual amount |  | dinar | 4500
| 11.1 | resolving property ownership relations |  | dinar | 2100 | This is calculated only if EE had a real cost for a particular connection and paid for it
| 11.2 | construction approval |  | dinar | 1200
| 11.3 | approval for usage |  | dinar | 1200
Note: decreases are marked with "-"
| * - | In case an energy entity decides to provide discount, this must be done under equal general conditions for all applicants for connection and the decision, together with the act - decision on the standard connection cost level, must be available to all potential users.
Energy entity's data
C A L C U L A T I O N
standard connection costs
|  | Applicant | Petar Petrovic
|  | Address | Becej, Lole Ribara 22
|  | Date of costing | 2009-04-15
|  | Connection category | G - 2,5
|  | Max. capacity (m3 / h) | 4
| No. | Item |  |  | Cost | N O T E S
| 1. | Costs of constructing a standard connection with HMRS for the length of connection up to the frontier |  |  | 33540.8042 | With 20% discount for construction together with network
| 2. | Variable costs of equipment and works for connection length exceeding the frontier |  |  | 1394.3487 | Unit variable costs applied to the difference between actual length and length to frontier, when it is >0
| 2.1 | difference between actual distance and distance range from network to frontier (m) |  | 4.7
| 2.2 | unit variable cost of equipment and works (dinar / m) |  | 296.6699
| 3. | Semi-deep costs |  |  | 0 | If the user bears costs of creating technical conditions to connect own facility, DTS will be paid
| 4. | EE provides discount during billing period |  |  | 5000
| 5. | Correction of connection construction costs in cases specified in the Methodology: |  |  | -6600
| 5.1 | increase for costs of crossing the street |  |  | 17500 | see item IV.1.3.3.2. of Methodology
| 5.2 | increase for installation of equipment or construction works exceeding standard works |  |  | 1000 | see items IV.1.3.3.4. and IV.1.3.3.5. of Methodology
| 5.3 | decrease due to one's own efforts, with approval and under supervision of EE |  |  | -8500
| 5.4 | decrease for costs of user incurred before Approval of connection |  |  | -16600 | see item IV.1.3.3.6. of Methodology
| 6. | Additional fixed costs, if any, shall be indicated separately to their actual amount |  |  | 4500
| 6.1 | resolving property ownership relations |  |  | 2100 | This is calculated only if EE had a real cost for a particular connection and paid for it
| 6.2 | construction approval |  |  | 1200
| 6.3 | approval for usage |  |  | 1200
| 7. | TOTAL COSTS |  |  | 27835.1529
Note on F48: разлика између стварне и граничне удаљености