## Aloocation by MD
Group connection charges allocation by metering devices
Enter data only into cells marked yellow
Brpmu | Number of potential metering devices (MD) of GC |  | 25
TRgp | Group connection costs |  | 1306875
TPtp | Price of standard connection of the energy entity |  | 69700
|  | MD price | MD No. installed before gas supply to network
| G-2,5 | 14760 | 3
| G-4 | 16400 | 11
| G-6 | 24600 | 2
16
No. of MD to be installed before gas supply to network |  | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Price per metering device
| G-2,5 | 74956.9863 | 71968.5463 | 70125.974 | 68346.1277 | 66625.8577 | 64962.2222 | 63352.4696 | 61794.0239 | 60284.4706 | 58821.5444 | 57241.5909 | 54681.5217 | 52334.7917 | 50175.8
| G-4 | 76596.9863 | 73608.5463 | 71765.974 | 69986.1277 | 68265.8577 | 66602.2222 | 64992.4696 | 63434.0239 | 61924.4706 | 60461.5444 | 58881.5909 | 56321.5217 | 53974.7917 | 51815.8
| G-6 | 84796.9863 | 81808.5463 | 79965.974 | 78186.1277 | 76465.8577 | 74802.2222 | 73192.4696 | 71634.0239 | 70124.4706 | 68661.5444 | 67081.5909 | 64521.5217 | 62174.7917 | 60015.8
To pay off - MD to be sold subsequently |  | 5.3979 | 4.8563 | 4.1703 | 3.5237 | 2.9145 | 2.3408 | 1.801 | 1.2934 | 0.81644 | 0.36876 | 0 | 0 | 0 | 0
Interest coefficient | Group connection coefficient
Kz ≥ 0,875 | Kgp = Kz | 12: 0.875
0,50 ≤ Kz < 0,875 | Kgp = (Kz - 0,5)/3 + 0,75 | 12: 0.5
Kz < 0,50 | Kgp = Kz + 0,25
G-2,5 | Broj korisnika sa G-2,5 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
G-4 | Broj korisnika sa G-4 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
G-6 | Broj korisnika sa G-6 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
| Cena mernih uređaja | 208280 | 224680 | 241080 | 257480 | 273880 | 290280 | 306680 | 323080 | 339480 | 355880 | 372280 | 388680 | 405080 | 421480
| Koeficijent zainteresovanih | 0.48 | 0.52 | 0.56 | 0.6 | 0.64 | 0.68 | 0.72 | 0.76 | 0.8 | 0.84 | 0.88 | 0.92 | 0.96 | 1
| Koeficijent grupnog priključka | 0.73 | 0.75667 | 0.77 | 0.78333 | 0.79667 | 0.81 | 0.82333 | 0.83667 | 0.85 | 0.86333 | 0.88 | 0.92 | 0.96 | 1
| Cena grupnog priključka bez MU | 1098595 | 1082195 | 1065795 | 1049395 | 1032995 | 1016595 | 1000195 | 983795 | 967395 | 950995 | 934595 | 918195 | 901795 | 885395
| Naplatiće | 930643.8356 | 968391.1013 | 1016203.6364 | 1061271.9149 | 1103733.7238 | 1143717.7778 | 1181344.4534 | 1216726.4542 | 1249969.4118 | 1281172.4324 | 1306875 | 1306875 | 1306875 | 1306875
| Treba da nadoknadi jos | 376231.1644 | 338483.8987 | 290671.3636 | 245603.0851 | 203141.2762 | 163157.2222 | 125530.5466 | 90148.5458 | 56905.5882 | 25702.5676 | 0 | 0 | 0 | 0
82